## Menu.c
# | Russian Translation (20 characters or less!) | LCD Code | English Text | Δ Length | Prefix WS | Additional Notes
0 | МВЗВ Переменная | 4D42A44220A8657065BC65BDBD61C7 | MSVE Variable | 2 | 2
1 | Максимум: | 4D61BA63B8BC79BC3A | Maximum: | 1 | 5
2 | Минимум: | 4DB8BDB8BC79BC3A | Minimum: | 0 | 6
3 | Макс: | 4D61BA633A | Max: | 1 | 7
4 | Мин: | 4DB8BD3A | Min: | 0 | 8
5 | Права защищены 2015 | A87061B36120B761E6B8E665BDC32032303135 | Copyright 2015 | 5 | 0
6 | Рестарт | 506563BF6170BF | Restart | 0 | 6
7 | ВВОД=РЕСТАРТ | 42424FE03D50454354415054 | ENTER = RESTART | -3 | 4
8 | Вернуть заводские | 426570BD79BFC420B761B36FE363BAB865 | Restore Factory | 2 | 1
9 | Настройки? | 486163BF706FB9BAB83F | Defaults? | 1 | 5
10 | ДА | E041 | YES | -1 | 9
11 | НЕТ | 484554 | NO | 1 | 8
12 | Переход к заводским | A8657065786FE320BA20B761B36FE363BAB8BC | Restoring Factory | 2 | 0
13 | Настройкам… | 486163BF706FB9BA61BC2E2E2E | Defaults... | 0 | 4
14 | Диагностика | E0B861B4BD6F63BFB8BA61 | Diagnostics | 0 | 4
15 | Диаг.Фильтр | E0B861B42EAAB8BBC4BF70 | Diagnostics Mask | -5 | 4
16 | Частота(В): | AB6163BF6FBF612842293A | Freq(W): | 3 | 4 | REG_FREQ
17 | Отр.Мщн(В): | 4FBF702E4DE6BD2842293A | Ref Pwr(W): | 0 | 4 | REG_VREF
18 | Частота(Н): | AB6163BF6FBF612848293A | Freq(O): | 3 | 4 | REG_FREQOSC_OIL_CALC
19 | Отр.Мщн(Н): | 4FBF702E4DE6BD2848293A | Ref Pwr(O): | 0 | 4 | REG_VREFOSC_OIL_CALC
20 | Фаза: Нефть | AA61B7613A204865E4BFC4 | Phase: Oil | 1 | 4
21 | Фаза: Вода | AA61B7613A20426FE361 | Phase: Water | -2 | 5
22 | ЭвСоль | AFB3436FBBC4 | HSALT | 1 | 7 | REG_SALINITY
23 | Соленость: | 436FBB65BD6F63BFC43A | Salinity: | 1 | 5 | REG_SALINITY
24 | Фаза: Ошибка | AA61B7613A204FC1B8B2BA61 | Phase: Error | 0 | 4
25 | Нефть | 4865E4BFC4 | Oil | 2 | 7
26 | Логич.Ошибка Фазы | A76FB4B8C02E4FC1B8B2BA6120AA61B7C3 | Phase Logic Error | 0 | 1
27 | Влагосодержание | 42BB61B46F636FE36570B661BDB865 | Water Cut | 6 | 2
28 | Температура | 5465BCBE657061BF797061 | Temperature | 0 | 4
29 | Поток | A86FBF6FBA | Stream | -1 | 7
30 | ЦиклыЗадержки | E1B8BABBC3A461E36570B6BAB8 | HoldCyc | 6 | 3 | REG_PHASE_HOLD_CYCLES
31 | Кол.Изм. | 4B6FBB2EA5B7BC2E | NumSamp | 1 | 6 | REG_NUM_SAMP
32 | Адрес | 41E3706563 | Address | -2 | 7 | ALYESKA DESTINATION_ADDRESS
33 | Соль | 436FBBC4 | Salt | 0 | 8 | REG_SALINITY
34 | Задать Фазу | A461E361BFC420AA61B779 | Force Phase | 0 | 4
35 | АВТО | 4142544F | AUTO | 0 | 8
36 | Ед.изм.Темп. | 45E32EB8B7BC2E5465BCBE2E | Temperature Unit | -4 | 4
37 | Класс | 4BBB616363 | Class | 0 | 7
38 | Ед.изм. : | 45E32EB8B7BC2E203A | Unit : | 3 | 5
39 | Темп.Поправка | 5465BCBE2EA86FBE7061B3BA61 | Tadj | 9 | 3
40 | Средняя Температура | 437065E3BDC7C7205465BCBE657061BF797061 | Average Temperature | 0 | 0
41 | ВВОД=СБРОС | 42424FE03D43A0504F43 | ENTER = RESET | -3 | 5
42 | Изменить ЗЗ пароль | A5B7BC65BDB8BFC420A4A420BE61706FBBC4 | Change WP Password | 0 | 1
43 | Изменить ТЕХ пароль | A5B7BC65BDB8BFC42054455820BE61706FBBC4 | Change TECH Password | -1 | 0
44 | ЗАБЛОКИРОВАНО | A441A0A74F4BA5504F4241484F | LOCKED OUT | 3 | 3
45 | Подождите... | A86FE36FB6E3B8BF652E2E2E | Please Wait... | -2 | 4
46 | КОД | 4B4FE0 | CODE | -1 | 8 | REG_LOCK
47 | Реж.Низ.Солености | 5065B62E48B8B72E436FBB65BD6F63BFB8 | Low Salinity Mode | 0 | 1
48 | ДОСТУПНО | E04F4354A9A8484F | ENABLED | 1 | 6
49 | НЕДОСТУПНО | 4845E04F4354A9A8484F | DISABLED | 2 | 5
50 | Порог | A86F706FB4 | Threshold | -4 | 7 | REG_LOWSALT_THRESHOLD
51 | Н.Настр | 482E486163BF70 | OAdj | 3 | 6 | REG_OIL_ADJ
52 | В.Настр | 422E486163BF70 | WAdj | 3 | 6 | REG_WATER_ADJ
53 | В.Низ | 422E48B8B7 | WLo | 2 | 7 | _ALARM_LO
54 | В.Верх | 422E42657078 | WHi | 3 | 7 | _ALARM_HI
55 | В.Индекс | 422EA5BDE365BA63 | Widx | 4 | 6 | REG_WATER_INDEX
56 | В.Низкая частота | 422E48B8B7BA61C720C06163BF6FBF61 | WFreqLo | 9 | 2 | REG_FREQ_WATER_LO
57 | В.Высокая частота | 422E42C3636FBA61C720C06163BF6FBF61 | WFreqHi | 10 | 1 | REG_FREQ_WATER_HI
58 | Н.Индекс | 482EA5BDE365BA63 | Oidx | 4 | 6 | REG_OIL_INDEX
59 | Н. Низ.Част. | 482E2048B8B72EAB6163BF2E | OFreqLo | 5 | 4 | REG_FREQ_OIL_LO
60 | Н. Верх.Част. | 482E20426570782EAB6163BF2E | OFreqHi | 6 | 3 | REG_FREQ_OIL_HI
61 | Н.Р1 | 482E5031 | OP1 | 1 | 8 | OIL_P1
62 | Н.Р0 | 482E5030 | OP0 | 1 | 8 | OIL_P0
63 | Захват (Нефт.Фаза) | A46178B361BF20284865E4BF2EAA61B76129 | Capture (Oil Phase) | -1 | 1
64 | ОШИБКА ФАЗЫ ЭМУЛЬСИИ | 4FACA5A04B4120AA41A4AE20AF4DA9A76243A5A5 | WRONG EMULSION PHASE | 0 | 0
65 | ВВОД ДЛЯ СТАРТА | 42424FE020E0A7B120435441505441 | ENTER TO START | 1 | 2
66 | Отбор пробы… | 4FBFB26F7020BE706FB2C32E2E2E | Sampling... | 1 | 4
67 | Захват (Вод.Фаза) | A46178B361BF2028426FE32EAA61B76129 | Capture(Water Phase) | -3 | 1
68 | ВВОД ДЛЯ ОСТАНОВКИ | 42424FE020E0A7B1204F435441484F424BA5 | ENTER TO STOP | 5 | 1
69 | Вода | 426FE361 | Water | -1 | 8 | REG_CAL_WATER
70 | Средн.ВС.% | 437065E3BD2E42432E25 | Avg Watercut | -2 | 5 | Originally: Средн.Влагосодерж.%
71 | Средн.Нетто: | 437065E3BD2E4865BFBF6F3A | Avg Net: | 4 | 4
72 | Средн.Брутто: | 437065E3BD2EA07079BFBF6F3A | Avg Gross: | 3 | 3
73 | СчетчикНетто | 43C065BFC0B8BA4865BFBF6F | Net Accumulator | -3 | 4
74 | Итого | A5BF6FB46F | Total | 0 | 7
75 | СчетчикБрутто | 43C065BFC0B8BAA07079BFBF6F | Gross Accumulator | -4 | 3
76 | Расход | 506163786FE3 | Flow | 2 | 7
77 | Вода | 426FE361 | Water | -1 | 8
78 | РасходНетто | 506163786FE34865BFBF6F | Net Flow | 3 | 4
79 | КР Суммарный | 4B50204379BCBC6170BDC3B9 | FC Summary | 2 | 4
80 | ПЛОТНОСТЬ | A8A74F54484F435462 | DENSITY | 2 | 5
81 | КОРР.СТ | 4B4F50502E4354 | COR STD | 0 | 6 | CORn.density_corrected
82 | КОРР: | 4B4F50503A | COR: | 1 | 7 | FCn.density_PDI_corrected
83 | Время/Дата | 427065BCC72FE061BF61 | Time Date | 0 | 5
84 | Часы отсутств. | AB6163C3206FBF6379BF63BFB32E | Clock not present. | -4 | 3
85 | Установ.Время/Дата | A963BF61BD6FB32E427065BCC72FE061BF61 | Set Time Date | 4 | 1
86 | Зав.номер: | A461B32EBD6FBC65703A | Serial Number: | -4 | 5 | SN_PIPE
87 | НПП "ГКС" | 48A8A82022A14B4322 | Phase Dynamics, Inc. | -11 | 5
88 | Редакт.Тег | 5065E361BABF2E5465B4 | Edit Tag | 2 | 5
89 | Настройка Комм. | 486163BF706FB9BA61204B6FBCBC2E | Configure Comm | 1 | 2
90 | ВЫБОР=ИЗМЕНЕНИЕ | 42AEA04F503DA5A44D45484548A545 | SELECT = CHANGE | 0 | 2
91 | ВВОД=В НАСТРОЙКИ | 42424FE03D422048414354504FA64BA5 | ENTER = GOTO CONFIG | -3 | 2
92 | Префикс | A87065E4B8BA63 | PREFIX | 1 | 6 | PORTCFG.PREFIX
93 | Суффикс | 4379E4E4B8BA63 | SUFFIX | 1 | 6 | PORTCFG.SUFFIX
94 | Время Ожидания | 427065BCC7204FB6B8E361BDB8C7 | EOT | 11 | 3 | PORTCFG.EOT_Delay
95 | Четность | AB65BFBD6F63BFC4 | C Parity | 0 | 6
96 | Нечет | 4865C065BF | ODD | 2 | 7
97 | Чет | AB65BF | EVEN | -1 | 8
98 | Маркер/1 | 4D6170BA65702F31 | MARK/1 | 2 | 6
99 | Пробел/0 | A8706FB265BB2F30 | SPACE/0 | 1 | 6
100 | Нет | 4865BF | NONE | -1 | 8
101 | ПОВТОР | A84F42544F50 | RETRY | 1 | 7 | PORTCFG.Retry_Time
102 | Статистика | 43BF61BFB863BFB8BA61 | Statistics | 0 | 5
103 | Ошибки | 4FC1B8B2BAB8 | Errors | 0 | 7 | PORT.ERROR_COUNT
104 | Сторож.Счт | 43BF6F706FB62E43C0BF | WDOG | 6 | 5 | PORT.WDOG_COUNT
105 | Статистика | 43BF61BFB863BFB8BA61 | C Statistics | -2 | 5
106 | Неверн.Кмнд | 4865B36570BD2E4BBCBDE3 | Inv Cmd | 4 | 4 | PORT.INV_CMD_COUNT
107 | Успех | A963BE6578 | Success | -2 | 7 | PORT.SUCCESS
108 | № Попытки | CC20A86FBEC3BFBAB8 | # Retry | 2 | 5 | PORT.NUM_RETRIES
109 | HART №Преамбулы | 4841525420CCA8706561BCB279BBC3 | HART #Preambles | 0 | 2
110 | HART Версия | 484152542042657063B8C7 | HART Version | -1 | 4
111 | HART Статист.Порта | 484152542043BF61BFB863BF2EA86F70BF61 | HART Port Statistics | -2 | 1
112 | ИК-порт Включен | A54B2DBE6F70BF2042BABBC6C065BD | IrDA Enable | 4 | 2
113 | ИК-порт Чувств. | A54B2DBE6F70BF20AB79B363BFB32E | IrDA Sensitivity | -1 | 2
114 | Нормальный | 486F70BC61BBC4BDC3B9 | Normal | 4 | 5
115 | ИК-порт Статистика | A54B2DBE6F70BF2043BF61BFB863BFB8BA61 | IrDA Port Statistics | -2 | 1
116 | Адрес | 41E3706563 | ADDRESS | -2 | 7 | PORTCFG.Slave_ID
117 | Модбас СОМ 1 | 4D6FE3B2616320434F4D2031 | MODBUS COM 1 | 0 | 4
118 | Модбас СОМ 1 / Влаг | 4D6FE3B2616320434F4D2031202F2042BB61B4 | MODBUS COM 1 / PDI | 1 | 0
119 | Модбас СОМ 2 | 4D6FE3B2616320434F4D2032 | MODBUS COM 2 | 0 | 4
120 | Модбас СОМ 2 / ИТО | 4D6FE3B2616320434F4D2032202F20A5544F | MODBUS COM 2 / OIT | 0 | 1
121 | HART | 48415254 | HART | 0 | 8
122 | ИК-порт | A54B2DBE6F70BF | IrDA | 3 | 6
123 | Модбас ИТО | 4D6FE3B2616320A5544F | MODBUS OIT | 0 | 5
124 | Модбас ПК | 4D6FE3B2616320A84B | MODBUS PDI | -1 | 5
125 | Настройка реле | 486163BF706FB9BA61207065BB65 | Configure Relay | -1 | 3
126 | Реле Режим | 5065BB65205065B6B8BC | Relay Mode | 0 | 5
127 | Статус переменной | 43BF61BF796320BE657065BC65BDBD6FB9 | Variable Status | 2 | 1
128 | Переменая=Уставка | A8657065BC65BD61C73DA963BF61B3BA61 | Variable = Setpoint | -2 | 1
129 | Переключатель | A8657065BABBC6C061BF65BBC4 | Toggle | 7 | 3
130 | Диагностика | E0B861B4BD6F63BFB8BA61 | Diagnostics | 0 | 4
131 | Вручную | 427079C0BD79C6 | Manual | 1 | 6
132 | Реле переменная | 5065BB6520BE657065BC65BDBD61C7 | Relay Variable | 1 | 2
133 | Индекс переменной | A5BDE365BA6320BE657065BC65BDBD6FB9 | Variable Index | 3 | 1
134 | Реле Код Ед.изм. | 5065BB65204B6FE32045E32EB8B7BC2E | Relay Unit Code | 1 | 2
135 | Реле Уставка | 5065BB6520A963BF61B3BA61 | Relay Setpoint | -2 | 4
136 | Реле Статус | 5065BB652043BF61BF7963 | Relay Status | -1 | 4
137 | ВКЛ | 424BA7 | ON | 1 | 8
138 | ВЫКЛ | 42AE4BA7 | OFF | 1 | 8
139 | Реле Маска | 5065BB65204D6163BA61 | Relay Mask | 0 | 5
140 | Настройка АнВх(AI) | 486163BF706FB9BA612041BD427828414929 | Configure AI | 6 | 1
141 | AI Переменная | 414920A8657065BC65BDBD61C7 | AI Variable | 2 | 3
142 | AI Код ед.изм. | 4149204B6FE32065E32EB8B7BC2E | AI Unit Code | 2 | 3
143 | AI НЗД | 41492048A4E0 | AI LRV | 0 | 7
144 | AI ВЗД | 41492042A4E0 | AI URV | 0 | 7
145 | AI Калибровка | 4149204B61BBB8B2706FB3BA61 | AI Trim | 6 | 3
146 | ВЫБОР=СБРОС | 42AEA04F503D43A0504F43 | SELECT = RESET | -3 | 4
147 | ВВОД=Калибровка | 42424FE03D4B61BBB8B2706FB3BA61 | ENTER = TRIM | 3 | 2
148 | Подключите | A86FE3BABBC6C0B8BF65 | Connect | 3 | 5
149 | Нажмите ВЫБОР если | 4861B6BCB8BF652042AEA04F50206563BBB8 | Press SELECT if | 3 | 1
150 | вы уверены | B3C32079B3657065BDC3 | you are sure | -2 | 5
151 | Подключите 20мА | A86FE3BABBC6C0B8BF65203230BC41 | Connect 20mA | 3 | 2
152 | AI Успокоение | 414920A963BE6FBA6F65BDB865 | AI Dampening | 1 | 3
153 | Значение | A4BD61C065BDB865 | Value | 3 | 6
154 | Аналоговый Вход | 41BD61BB6FB46FB3C3B92042786FE3 | Analog Input | 3 | 2
155 | Аналоговый Вход | 41BD61BB6FB46FB3C3B92042786FE3 | Analog Input | 3 | 2
156 | Настройка АнВых(AO) | 486163BF706FB9BA612041BD42C37828414F29 | Configure AO | 7 | 0
157 | AO Переменная | 414F20A8657065BC65BDBD61C7 | AO Variable | 1 | 3
158 | ПИД | A8A5E0 | PID | 0 | 8
159 | Отключить/Вручную | 4FBFBABBC6C0B8BFC42F427079C0BD79C6 | Disabled/Manual | 2 | 1
160 | AO Код Ед.изм. | 414F204B6FE32045E32EB8B7BC2E | AO Unit Code | 2 | 3
161 | AO Калиб. 4мА | 414F204B61BBB8B22E2034BC41 | AO Trim 4mA | 2 | 3
162 | Подключите Изм.тока | A86FE3BABBC6C0B8BF6520A5B7BC2EBF6FBA61 | Connect Meter | 6 | 0
163 | Изм.Значение | A5B7BC2EA4BD61C065BDB865 | Meter Value | 1 | 4
164 | МЕНЮ=Пропустить | 4D4548B03DA8706FBE7963BFB8BFC4 | Press MENU to skip | -3 | 2
165 | AO Калиб. 20мА | 414F204B61BBB8B22E203230BC41 | AO Trim 20mA | 2 | 3
166 | AO сигнал | 414F2063B8B4BD61BB | AO Alarm Select | -7 | 5 | Translated to "AO Signal" for lack of better translation
167 | НИЗ (4мА) | 48A5A4202834BC4129 | LOW (4mA) | 0 | 5
168 | ВЕРХ (20мА) | 4245505820283230BC4129 | HIGH (20mA) | 0 | 4
169 | АО Режим | 414F205065B6B8BC | AO MODE | 0 | 6
170 | Авто/Реверс | 41B3BF6F2F5065B3657063 | Automatic/Reverse | -6 | 4
171 | Авто | 41B3BF6F | Automatic | -5 | 8
172 | АО Успокоение | 414F20A963BE6FBA6F65BDB865 | AO Dampening | 0 | 3
173 | Аналоговый Выход | 41BD61BB6FB46FB3C3B92042C3786FE3 | Analog Output | 3 | 2
174 | Аналоговый Вых. | 41BD61BB6FB46FB3C3B92042C3782E | Analog Out | 5 | 2
175 | Настройка ТС | 486163BF706FB9BA61205443 | Trim RTD | 4 | 4
176 | Выбор Верх/Низ | 42C3B26F7020426570782F48B8B7 | SELECT LO/HI | 2 | 3
177 | Калибр.Низ | 4B61BBB8B2702E48B8B7 | TRIM LO | 3 | 5
178 | Калибр.Верх | 4B61BBB8B2702E42657078 | TRIM HI | 4 | 4
179 | Калибр. ТС Низ | 4B61BBB8B2702E2054432048B8B7 | Trim RTD Lo | 3 | 3
180 | Подключите 100 Ом | A86FE3BABBC6C0B8BF6520313030204FBC | Connect 100 Ohm | 2 | 1
181 | Нажмите ВЫБОР | 4861B6BCB8BF652042AEA04F50 | Press SELECT | 1 | 3
182 | для ПОДТВЕРЖДЕНИЯ | E3BBC720A84FE054424550A3E04548A5B1 | to CONFIRM | 7 | 1
183 | Нажм.МЕНЮ для ОТМЕНЫ | 4861B6BC2E4D4548B020E3BBC7204F544D4548AE | Press MENU to CANCEL | 0 | 0
184 | Калибр. ТС Верх | 4B61BBB8B2702E2054432042657078 | Trim RTD Hi | 4 | 2
185 | Подключите 125 Ом | A86FE3BABBC6C0B8BF6520313235204FBC | Connect 125 Ohm | 2 | 1
186 | КОНЕЦ Калибр.Низ | 4B4F4845E1204B61BBB8B2702E48B8B7 | TRIM LO COMPLETED | -1 | 2
187 | Нажмите люб.кнопку | 4861B6BCB8BF6520BBC6B22EBABD6FBEBA79 | Press any button | 2 | 1
188 | для продолжения | E3BBC720BE706FE36FBBB665BDB8C7 | to continue | 4 | 2
189 | КОНЕЦ Калибр.Верх | 4B4F4845E1204B61BBB8B2702E42657078 | TRIM HI COMPLETED | 0 | 1
190 | Режим Вычисления | 5065B6B8BC2042C3C0B863BB65BDB8C7 | Calculation Mode | 0 | 2
191 | Выбор Нефт.Кривой | 42C3B26F70204865E4BF2E4B70B8B36FB9 | Oil Curve Selection | -2 | 1
192 | Модбас СОМ 1 | 4D6FE3B2616320434F4D2031 | Curve Set | 3 | 4 | OIL_CALC_MAX0
193 | АвтоВыбор | 41B3BF6F42C3B26F70 | Auto Select | -2 | 5
194 | Корр. по Плотности | 4B6F70702E20BE6F20A8BB6FBFBD6F63BFB8 | Density Correction | 0 | 1
195 | COR-API60F, КорТемп | 434F522D4150493630462C204B6F705465BCBE | COR-API60F, COR TMP | 0 | 0
196 | COR-API60F, ВлагТемп | 434F522D4150493630462C2042BB61B45465BCBE | COR-API60F, PDI TMP | 1 | 0
197 | COR-API60F, ДругТемп | 434F522D4150493630462C20E07079B45465BCBE | COR-API60F, ALT TMP | 1 | 0
198 | Другое | E07079B46F65 | OTHER | 1 | 7
199 | Порт Кориолис | A86F70BF204B6F70B86FBBB863 | Coriolis Port | 0 | 3
200 | COM 2 | 434F4D2032 | COMM 2 | -1 | 7
201 | Задержка | A461E36570B6BA61 | Damp | 4 | 6 | COR0.damp_flow_rate
202 | В процессе… | 4220BE706FE5656363652E2E2E | In Progress… | -1 | 4
203 | ВВОД= начало отсчета | 42424FE03D20BD61C061BB6F206FBF63C065BF61 | ENTER = START ZERO | 2 | 0
204 | КР Настр.Плотности | 4B5020486163BF702EA8BB6FBFBD6F63BFB8 | FC1 Density Adjust | 0 | 1
205 | Настр | 486163BF70 | Adj | 2 | 7 | Adjust
206 | FC Давление | 464320E061B3BB65BDB865 | FC Pressure Unit | -5 | 4
207 | FC Температура | 4643205465BCBE657061BF797061 | FC Temperature Unit | -5 | 3
208 | FC Плотность | 464320A8BB6FBFBD6F63BFC4 | FC Density Unit | -3 | 4
209 | FCЕденица накопления | 464345E365BDB8E56120BD61BA6FBEBB65BDB8C7 | FC Accumulator Unit | 1 | 0
210 | FC Расход | 464320506163786FE3 | FC Flow Unit | -3 | 5
211 | Модбас СОМ 2 | 4D6FE3B2616320434F4D2032 | FC Flow Class | -1 | 4
212 | Массовый расход | 4D6163636FB3C3B920706163786FE3 | Mass Flow | 6 | 2
213 | Объемный расход | 4FB2C265BCBDC3B920706163786FE3 | Volumetric Flow | 0 | 2
214 | Эмул. | AFBC79BB2E | Emul. | 0 | 7 | FCn.density
215 | ВС | 4243 | WC | 0 | 9 | FCn.watercut
216 | Давление | E061B3BB65BDB865 | Press | 3 | 6 | FCn.pressure
217 | Темп. | 5465BCBE2E | Temp | 1 | 7 | FCn.T
218 | Расход | 506163786FE3 | Flow | 2 | 7 | FCn.FLOW_TOTAL
219 | Пл.ВодыРУ | A8BB2E426FE3C350A9 | WaterPT | 2 | 5 | FCn.density_water
220 | Пл.ВодыСУ | A8BB2E426FE3C343A9 | WaterST | 2 | 5 | FCn.density_waterST
221 | Пл.НефтиРУ | A8BB2E4865E4BFB850A9 | OilPT | 5 | 5 | FCn.density_oil
222 | Пл.НефтиСУ | A8BB2E4865E4BFB843A9 | OilST | 5 | 5 | FCn.density_oilST
223 | Усадка | A96361E3BA61 | SHRNK | 1 | 7 | FCn.Shrinkage
224 | М-фактор | 4D2DE461BABF6F70 | M.F. | 4 | 6 | FCn.Meter_Factor
225 | КР Нетто Вкл | 4B50204865BFBF6F2042BABB | FC Net Enable | -1 | 4
226 | КР Плотн.Вкл | 4B5020A8BB6FBFBD2E42BABB | FC Density Enable | -5 | 4
227 | КР Имп.Вкл | 4B5020A5BCBE2E42BABB | FC Pulse Enable | -5 | 5
228 | КР Брутто Вкл | 4B5020A07079BFBF6F2042BABB | FC Gross Enable | -2 | 3
229 | КР Расход Вкл | 4B5020506163786FE32042BABB | FC Flow Enable | -1 | 3
230 | КР Исп.Темп.Влаг? | 4B5020A563BE2E5465BCBE2E42BB61B43F | FC Use PDI Temp.? | 0 | 1
231 | КР Исп.Солен.Влаг? | 4B5020A563BE2E436FBB65BD2E42BB61B43F | FC Use PDI Salt? | 2 | 1
232 | КР Исп.Внутр.ВС? | 4B5020A563BE2E42BD79BF702E42433F | FC Use PDI WCut? | 0 | 2
233 | КР API Таблица | 4B5020415049205461B2BBB8E561 | FC API Table | 2 | 3
234 | B: Осн.Продукты | 423A204F63BD2EA8706FE379BABFC3 | B: General Products | -4 | 2
235 | С: Специальные | 433A2043BE65E5B861BBC4BDC365 | C: Special | 4 | 3
236 | D: Осн.Смаз.Мат | 443A204F63BD2E43BC61B72E4D61BF | D: General Lubricant | -5 | 2
237 | A: Осн.Нефть | 413A204F63BD2E4865E4BFC4 | A: General Crude | -4 | 4
238 | КР Настр.Плотн | 4B5020486163BF702EA8BB6FBFBD | FC Density Adjust | -3 | 3
239 | КР API Кривая С | 4B5020415049204B70B8B361C72043 | FC API Curve C | 1 | 2
240 | альфа | 61BBC4E461 | alpha | 0 | 7
241 | КР Ручн.Расход? | 4B50205079C0BD2E506163786FE33F | FC Manual Flow? | 0 | 2
242 | КР Ручн.Темп.? | 4B50205079C0BD2E5465BCBE2E3F | FC Manual Temp.? | -2 | 3
243 | КР Ручн.ВС? | 4B50205079C0BD2E42433F | FC Manual Process? | -7 | 4
244 | КР Ручн.Давление? | 4B50205079C0BD2EE061B3BB65BDB8653F | FC Manual Pressure? | -2 | 1
245 | КР Ручн.Плотность? | 4B50205079C0BD2EA8BB6FBFBD6F63BFC43F | FC Manual Density? | 0 | 1
246 | КР Ручн.Соленость? | 4B50205079C0BD2E436FBB65BD6F63BFC43F | FC Manual Salt? | 3 | 1
247 | КР Счт.Импульсов | 4B502043C0BF2EA5BCBE79BBC4636FB3 | FC #Pulses | 6 | 2
248 | Настр.Контр.Расход | 486163BF702E4B6FBDBF702E506163786FE3 | Config Flow Computer | -2 | I
249 | Переменая<Уставка | A8657065BC65BD61C73CA963BF61B3BA61 | Variable < Setpoint | -2 | 1
250 | Переменая>Уставка | A8657065BC65BD61C73EA963BF61B3BA61 | Variable > Setpoint | -2 | 1
251 | Переменая<=Уставка | A8657065BC65BD61C73C3DA963BF61B3BA61 | Variable <= Setpoint | -2 | 1
252 | Переменая>=Уставка | A8657065BC65BD61C73E3DA963BF61B3BA61 | Variable >= Setpoint | -2 | 1
253 | Переменая!=Уставка | A8657065BC65BD61C7213DA963BF61B3BA61 | Variable != Setpoint | -2 | 1
254 | Код | 4B6FE3 | Code | -1 | 8
255 | Реле | 5065BB65 | Relay | -1 | 8
256 | 4мА | 34BC41 | 4mA | 0 | 8
257 | 20мА | 3230BC41 | 20mA | 0 | 8
258 | АО НЗД | 414F2048A4E0 | AI LRV | 0 | 7
259 | АО ВЗД | 414F2042A4E0 | AI URV | 0 | 7
260 | АО ПИД Уставка | 414F20A8A5E020A963BF61B3BA61 | AO PID Setpoint | -1 | 3
261 | Ом | 4FBC | Ohm | -1 | 9
262 | Кориолис, ВлагТемп | 4B6F70B86FBBB8632C2042BB61B45465BCBE | Coriolis, PDI TMP | 1 | 1
263 | Кориолис, ДругТемп | 4B6F70B86FBBB8632C20E07079B45465BCBE | Coriolis, ALT TMP | 1 | 1
264 | Еденица Плотность | 45E365BDB8E56120A8BB6FBFBD6F63BFC4 | Unit of density | 2 | 1 | Google Translate
265 | Кориолис отсчета | 4B6F70B86FBBB863206FBF63C065BF61 | Coriolis Zero | 3 | 2
266 | расход класс | 706163786FE320BABB616363 | FC Flow Class | -1 | 4 | Google Translate
267 | Счт.Импульсов | 43C0BF2EA5BCBE79BBC4636FB3 | #Pulses | 6 | 3
268 | Плотн. | A8BB6FBFBD2E | Dens. | 1 | 7 | Short for "density"
269 | Темп. | 5465BCBE2E | Temp | 1 | 7
270 | ВЕРХ | 42455058 | HIGH | 0 | 8
271 | НИЗ | 48A5A4 | LOW | 0 | 8
272 | Модбас СОМ 3 | 4D6FE3B2616320434F4D2033 | MODBUS COM 3 | 0 | 4 | Модбас СОМ 1 / Влаг
273 | Модбас СОМ 4 | 4D6FE3B2616320434F4D2034 | MODBUS COM 4 | 0 | 4
274 | Inv Pkt: |  | Inv Pkt: | 0 | 6 | PORT.INV_PKT_COUNT

## GLBLS.c - Short
# | Russian Translation (20 characters or less!) | LCD Code | English Text | Prefix WS | Additional Notes | Notes 2
275 | Влагосодержание | 42BB61B46F636FE36570B661BDB865 | Water Cut | 2 | REG_WATERCUT.name
276 | Усреднение процесса | A9637065E3BD65BDB86520BE706FE565636361 | Process Averaging | 0 | REG_NUM_SAMP.name
277 | Удержание Фазы | A9E36570B661BDB86520AA61B7C3 | Phase Hold Over | 3 | REG_PHASE_HOLD_CYCLES.name
278 | Фаза Эмульсии | AA61B76120AFBC79BBC463B8B8 | Emulsion Phase | 3 | REG_EMULSION_PHASE.name
279 | Нефть P0 | 4865E4BFC4205030 | Oil P0 | 6 | OIL_P0.name
280 | Нефть P1 | 4865E4BFC4205031 | Oil P1 | 6 | OIL_P1.name
281 | Выбор потока | 42C3B26F7020BE6FBF6FBA61 | Stream Select | 4 | REG_STREAM_SELECT.name | Calibration Density
282 | Соленность | 436FBB65BDBD6F63BFC4 | Salinity | 5 | REG_SALINITY.name | Oil Phase Calibration
283 | Настройка (Н.Фаза) | 486163BF706FB9BA612028482EAA61B76129 | Adjust (Oil Phase) | 1 | REG_OIL_ADJ.name | Water Phase Calibration
284 | Настройка (В.Фаза) | 486163BF706FB9BA612028422EAA61B76129 | Adjust (Water Phase) | 1 | REG_WATER_ADJ.name | Mass Flow Rate Cutoff for Coriolis Meter
285 | ВС Низ. | 42432048B8B72E | Process Lo | 6 | REG_WATERCUT_ALARM_LO.name
286 | ВС Верх. | 424320426570782E | Process Hi | 6 | REG_WATERCUT_ALARM_HI.name
287 | Мин.Интерв.ВС | 4DB8BD2EA5BDBF6570B32E4243 | Min WC Span | 3 | HSALT.span.name
288 | ЭвСоль Мин ВС | AFB3436FBBC4204DB8BD204243 | HSALT Min WC | 3 | Hsalt_Min_WC.name
289 | Мин.Расход | 4DB8BD2E506163786FE3 | Min Flow Rate | 5 | HSALT.flow_threshold.name | Density Calibration Unit
290 | Нефть Индекс | 4865E4BFC420A5BDE365BA63 | Oil Index | 4 | REG_OIL_INDEX.name | ERROR: External Memory
291 | Вода Индекс | 426FE36120A5BDE365BA63 | Water Index | 4 | REG_WATER_INDEX.name
292 | Настр.Температуры | 486163BF702E5465BCBE657061BF7970C3 | Temperature Adj | 1 | REG_TEMPERATURE_USER_ADJUST.name
293 | Температура Польз. | 5465BCBE657061BF79706120A86FBBC4B72E | User Temperature | 1 | REG_TEMPERATURE_USER.name
294 | Температура Средняя | 5465BCBE657061BF79706120437065E3BDC7C7 | Average Temperature | 0 | REG_TEMPERATURE_AVG.name
295 | Температура Процесса | 5465BCBE657061BF79706120A8706FE565636361 | Process Temperature | 0 | REG_TEMPERATURE_EXTERNAL.name | ERROR: Internal Memory
296 | Внутр.Температура | 42BD79BF702E5465BCBE657061BF797061 | Internal Temperature | 1 | ADC_Tint:REG_ADC[i].name
297 | Температура Процесса | 5465BCBE657061BF79706120A8706FE565636361 | Process Temperature | 0 | ADC_Text:REG_ADC[i].name
298 | Аналоговый Вход 1 | 41BD61BB6FB46FB3C3B92042786FE32031 | Analog Input 1 | 1 | ADC_Ain1:REG_ADC[i].name
299 | Аналоговый Выход 1 | 41BD61BB6FB46FB3C3B92042C3786FE32031 | Analog Output 1 | 1 | REG_DAC[i].name
300 | Аналог.Вых.(АО) | 41BD61BB6FB42E42C3782E28414F29 | Analog Out | 2 | AO[i].CURRENT.name
301 | АО НЗД | 414F2048A4E0 | AO LRV | 7 | AO[i].LRV.name
302 | АО ВЗД | 414F2042A4E0 | AO URV | 7 | AO[i].URV.name
303 | АО Калиб.Мин | 414F204B61BBB8B22E4DB8BD | AO TRIM MIN | 4 | AO[i].URV.name
304 | АО Калиб.Макс | 414F204B61BBB8B22E4D61BA63 | AO TRIM MAX | 3 | AO[i].URV.name
305 | Аналог.Вх.(AI) | 41BD61BB6FB42E42782E28414929 | Analog In | 3 | AI[i].CURRENT.name
306 | AI Значение | 414920A4BD61C065BDB865 | AI VALUE | 4 | AI[i].VALUE.name
307 | AI НЗД | 41492048A4E0 | AI LRV | 7 | AI[i].LRV.name
308 | AI ВЗД | 41492042A4E0 | AI URV | 7 | AI[i].URV.name
309 | АI Калиб.Мин | 4149204B61BBB8B22E4DB8BD | AI TRIM MIN | 4 | AI[i].URV.name
310 | АI Калиб.Макс | 4149204B61BBB8B22E4D61BA63 | AI TRIM MAX | 3 | AI[i].URV.name
311 | Польз.Блок. | A86FBBC4B72EA0BB6FBA2E | User Lock | 4 | REG_LOCK[i].name | Water Density at Process Temperature
312 | Завод.Блок. | A461B36FE32EA0BB6FBA2E | Factory Lock | 4 | REG_LOCK[i].name | Water Density at Standard Temperature
313 | ЗЗ Разблок. | A4A4205061B7B2BB6FBA2E | Write-Protect Unlock | 4 | REG_LOCK[i].name
314 | Доступ ТЕХ Режим | E06F63BF79BE20544558205065B6B8BC | Access Tech Mode | 2 | REG_LOCK[i].name
315 | Эв.Соль Блок. | AFB32E436FBBC420A0BB6FBA2E | Heuristic Salt Routine Lock | 3 | REG_LOCK[i].name
316 | Частота | AB6163BF6FBF61 | Frequency | 6 | REG_FREQ[i].name | Firmware Version
317 | НефтьЧастота | 4865E4BFC4AB6163BF6FBF61 | Oil Frequency | 4 | REG_FREQ_O.name
318 | ВодаЧастота | 426FE361AB6163BF6FBF61 | Water Frequency | 4 | REG_FREQ_W.name | Hardware Version
319 | Н.Част.Низ | 482EAB6163BF2E48B8B7 | Oil Freq Lo | 5 | REG_FREQ_OIL_LO.name
320 | Н.Част.Верх | 482EAB6163BF2E42657078 | Oil Freq Hi | 4 | REG_FREQ_OIL_HI.name | Invalid Packet Count
321 | В.Част.Низ | 422EAB6163BF2E48B8B7 | Water Freq Lo | 5 | REG_FREQ_WATER_LO.name
322 | В.Част.Верх | 422EAB6163BF2E42657078 | Water Freq Hi | 4 | REG_FREQ_WATER_HI.name
323 | Порог Частоты | A86F706FB420AB6163BF6FBFC3 | Frequency Threshold | 3 | REG_LOWSALT_THRESHOLD.name
324 | Н.Част.Мин | 482EAB6163BF2E4DB8BD | Oil Freq Min | 5 | Plot_Limit_Oil_Freq_Low.name | reflected power: oil
325 | Н.Част.Макс | 482EAB6163BF2E4D61BA63 | Oil Freq Max | 4 | Plot_Limit_Oil_Freq_High.name | raw watercut
326 | В.Част.Мин | 422EAB6163BF2E4DB8BD | Water Freq Min | 5 | Plot_Limit_Water_Freq_Low.name
327 | В.Част.Макс | 422EAB6163BF2E4D61BA63 | Water Freq Max | 4 | Plot_Limit_Water_Freq_High.name
328 | Тест. в процессе | 546563BF2E20B320BE706FE565636365 | TEST IN PROGRESS | 2 | REG_CCM_TEST_STAT.name
329 | Диагностика | E0B861B4BD6F63BFB8BA61 | Diagnostics | 4 | REG_DIAG[0].name
330 | Расшир.Диагностика | 506163C1B8702EE0B861B4BD6F63BFB8BA61 | Extended Diagnostics | 1 | REG_DIAG[1].name
331 | Код Ошибки | 4B6FE3204FC1B8B2BAB8 | Error Code | 5 | REG_DIAG[2].name
332 | Код Сообщения | 4B6FE320436F6FB2E665BDB8C7 | Message Code | 3 | REG_DIAG[3].name
333 | HART Код Отклика | 48415254204B6FE3204FBFBABBB8BA61 | HART Response Code | 2 | REG_DIAG[4].name
334 | Скор.Порта | 43BA6F702EA86F70BF61 | C Baud Rate | 5 | Baud_Rate.name
335 | Префикс | A87065E4B8BA63 | C Prefix | 6 | PORTCFG[MSVE.tmpi[0]].PREFIX
336 | Время Повтора | 427065BCC720A86FB3BF6F7061 | C Retry Time | 3 | PORTCFG[MSVE.tmpi[0]].Retry_Time
337 | Адрес (ID) | 41E37065632028494429 | C Slave ID | 5 | PORTCFG[MSVE.tmpi[0]].Slave_ID
338 | Суффикс | 4379E4E4B8BA63 | C Suffix | 6 | PORTCFG[MSVE.tmpi[0]].SUFFIX
339 | СторожТаймер | 43BF6F706FB65461B9BC6570 | C Watchdog | 4 | PORTCFG[MSVE.tmpi[0]].NETWDOG
340 | Калиб | 4B61BBB8B2 | CAL | 7 | Density_Cal
341 | Калиб.(Нефт.Фаза) | 4B61BBB8B22E284865E4BF2EAA61B76129 | Cal (Oil Phase) | 1 | REG_CAL_OIL
342 | Калиб.(Вод.Фаза) | 4B61BBB8B22E28426FE32EAA61B76129 | Cal (Water Phase) | 2 | REG_CAL_WATER
343 | Отсечка | 4FBF6365C0BA61 | Cutoff | 6 | COR[0].mfr_cutoff
344 | Плотн.Настр.D3 | A8BB6FBFBD2E486163BF702E4433 | Density Adj 3rd Ord. | 3 | Density_D3
345 | Плотн.Настр.D2 | A8BB6FBFBD2E486163BF702E4432 | Density Adj 2nd Ord. | 3 | Density_D2
346 | Плотн.Настр.D1 | A8BB6FBFBD2E486163BF702E4431 | Density Adj Slope | 3 | Density_D1
347 | Плотн.Настр.D0 | A8BB6FBFBD2E486163BF702E4430 | Density Adj Offset | 3 | Density_D0
348 | Корр.Плотн.Ед.Изм. | 4B6F70702EA8BB6FBFBD2E45E32EA5B7BC2E | Density Corr. Unit | 1 | Density_Cal_Unit
349 | ОШИБКА: Внеш.Память | 4FACA5A04B413A2042BD65C12EA861BCC7BFC4 | ERROR: EXT Memory | 0
350 | ОШИБКА: ФлэшПамять | 4FACA5A04B413A20AABBC5C1A861BCC7BFC4 | ERROR: FLASH Memory | 1
351 | ОШИБКА: Частота | 4FACA5A04B413A20AB6163BF6FBF61 | ERROR: Frequency | 2
352 | ОШИБКА: Высок.ВлСод | 4FACA5A04B413A2042C3636FBA2E42BB436FE3 | ERROR: Hi Water Cut | 0
353 | ОШИБКА: Высок.Темп | 4FACA5A04B413A2042C3636FBA2E5465BCBE | ERROR: High Temp. | 1
354 | ОШИБКА: Внутр.Память | 4FACA5A04B413A2042BD79BF702EA861BCC7BFC4 | ERROR: INT Memory | 0
355 | ОШИБКА: Невер.Время | 4FACA5A04B413A204865B365702E427065BCC7 | ERROR: Invalid Time | 0
356 | ОШИБКА: Невер.ВлСод | 4FACA5A04B413A204865B365702E42BB436FE3 | ERROR: Invalid WCut | 0
357 | ОШИБКА: Низ.ВлСод | 4FACA5A04B413A2048B8B72E42BB436FE3 | ERROR: Lo Water Cut | 1
358 | ОШИБКА: Низ.Темп | 4FACA5A04B413A2048B8B72E5465BCBE | ERROR: Low Temp. | 2
359 | ОШИБКА: Логика Фаз | 4FACA5A04B413A20A76FB4B8BA6120AA61B7 | ERROR: Phase Logic | 1
360 | ОШИБКА: ОБЩ.СБРОС | 4FACA5A04B413A204FA0E22E43A0504F43 | ERROR: RESET BASICS | 1
361 | КР М-фактор | 4B50204D2DE461BABF6F70 | FC Meter Factor | 4 | FC[0].Meter_Factor
362 | КР Плотн.Нефт.РУ | 4B5020A8BB6FBFBD2E4865E4BF2E50A9 | FC Oil Density@PT | 2 | FC[i].density_oil
363 | КР Плотн.Нефт.СУ | 4B5020A8BB6FBFBD2E4865E4BF2E43A9 | FC Oil Density@ST | 2 | FC[i].density_oilST
364 | КР Давление | 4B5020E061B3BB65BDB865 | FC Pressure | 4 | FC[i].pressure
365 | КР ВС | 4B50204243 | FC Process | 7 | FC[i].watercut
366 | КР Соленность | 4B5020436FBB65BDBD6F63BFC4 | FC Salinity | 3 | FC[i].salinity
367 | КР Усадка | 4B5020A96361E3BA61 | FC Shrinkage | 5 | FC[i].Shrinkage
368 | КР Температура | 4B50205465BCBE657061BF797061 | FC Temperature | 3 | FC[i].T
369 | КР Общ.Расход | 4B50204FB2E62E506163786FE3 | FC Total Flow | 3 | FC[i].FLOW_TOTAL
370 | КР Плотн.Вод.РУ | 4B5020A8BB6FBFBD2E426FE32E50A9 | FC Water Density@PT | 2 | FC[i].density_water
371 | КР Плотн.Вод.СУ | 4B5020A8BB6FBFBD2E426FE32E43A9 | FC Water Density@ST | 2 | FC[i].density_waterST
372 | КР Плотность | 4B5020A8BB6FBFBD6F63BFC4 | FC Density | 4 | FC[i].density
373 | ПО ГКС | A84F20A14B43 | Firmware by PDI | 7
374 | Полн.Диап.Влагомер | A86FBBBD2EE0B861BE2E42BB61B46FBC6570 | Full Range Analyzer | 1
375 | Версия ПО | 42657063B8C720A84F | FW Version | 5
376 | Верх.Диап.Влагомер | 426570782EE0B861BE2E42BB61B46FBC6570 | High Range Analyzer | 1
377 | Версия АпО | 42657063B8C72041BE4F | HW Version | 5
378 | Загрузка Данных... | A461B47079B7BA6120E061BDBDC3782E2E2E | Initializing Data… | 1
379 | Плох.Пакет: | A8BB6F782EA861BA65BF3A | Inv Pkt: | 4 | PORT[MSVE.tmpi[0]].INV_PKT_COUNT
380 | Низ.Диап.Влагомер | 48B8B72EE0B861BE2E42BB61B46FBC6570 | Low Range Analyzer | 1
381 | Срд.Диап.Влагомер | 4370E32EE0B861BE2E42BB61B46FBC6570 | Mid Range Analyzer | 1
382 | НЕТ ОШИБОК | 484554204FACA5A04F4B | NO ERRORS | 5
383 | ОМН | 4F4D48 | RPO | 8 | REG_VREF[OSC_OIL_CALC].val
384 | ГВС | A14243 | RWC | 8 | REG_WATERCUT_RAW
385 | ОШИБКА | 4FACA5A04B41 | ERROR | 7

## Units.h
Column1 | Russian (8 or less) | Column2 | English | Notes
1 | ОБЬЕМ | 0x4F,0xA0,0x62,0x45,0x4D,'','',0, | VOLUME
2 | л | 0xBB,'','','','','','',0, | L | Liter
3 | м3 | 0xBC,'3','','','','','',0, | m3 | meters cubed
4 | Нм3 | 0x48,0xBC,'3','','','','',0, | Nm3 | Normal m^3 (standard temperature and pressure)
5 | Нл | 0x48,0xBB,'','','','','',0, | NL | Normal liters (standard temperature and pressure)
6 | гл | 0xB4,0xBB,'','','','','',0, | hL
7 | ОР | 0x4F,0x50,'','','','','',0, | VFR | Volume Flow Rate
8 | Мл/сут | 0x4D,0xBB,'/',0x63,0x79,0xBF,'',0, | ML/dy
9 | м3/сут | 0xBC,'3','/',0x63,0x79,0xBF,'',0, | m3/dy
10 | м3/мин | 0xBC,'3','/',0xBC,0xB8,0xBD,'',0, | m3/min
11 | л/мин | 0xBB,'/',0xBC,0xB8,0xBD,'','',0, | L/min
12 | м3/час | 0xBC,'3','/',0xC0,0x61,0x63,'',0, | m3/hr
13 | Нм3/ч | 0x48,0xBC,'3','/',0xC0,'','',0, | Nm3/hr | Normal m^3 per hour (standard temperature and pressure)
14 | Нм3/с | 0x48,0xBC,'3','/',0x63,'','',0, | Nm3/s
15 | Нм3/сут | 0x48,0xBC,'3','/',0x63,0x79,0xBF,0, | Nm3/day
16 | Нл/ч | 0x48,0xBB,'/',0xC0,'','','',0, | NL/hr
17 | л/ч | 0xBB,'/',0xC0,'','','','',0, | L/hr
18 | л/с | 0xBB,'/',0x63,'','','','',0, | L/s
19 | м3/с | 0xBC,'3','/',0x63,'','','',0, | m3/s
20 | ТЕМП | 0x54,0x45,0x4D,0xA8,'','','',0, | TEMP | Temperature
21 | °C | C','','','','','','',0, | °C
22 | К | 0x4B,'','','','','','',0, | K
23 | КОНЦ | 0x4B,0x4F,0x48,0xE1,'','','',0, | CONC | Concentration
24 | млн-1 | 0xBC,0xBB,0xBD,'-','1','','',0, | ppm | parts per million
25 | млрд-1 | 0xBC,0xBB,0x70,0xE3,'-','1','',0, | ppb | parts per billion
26 | Частота | 0xAB,0x61,0x63,0xBF,0x6F,0xBF,0x61,0, | FREQ | Frequency
27 | Гц | 0xA1,0xE5,'','','','','',0, | Hz
28 | МГц | 0x4D,0xA1,0xE5,'','','','',0, | MHz
29 | ДАВЛ | 0xE0,0x41,0x42,0xA7,'','','',0, | PRESS | Pressure
30 | атм | 0x61,0xBF,0xBC,'','','','',0, | atm
31 | г/cм2 | 0xB4,'/','c',0xBC,'2','','',0, | g/cm2
32 | кг/cм2 | 0xBA,0xB4,'/','c',0xBC,'2','',0, | kg/cm2
33 | Па | 0xA8,0x61,'','','','','',0, | Pa
34 | кПа | 0xBA,0xA8,0x61,'','','','',0, | kPa
35 | гПа | 0xB4,0xA8,0x61,'','','','',0, | hPa
36 | кг/м2 | 0xBA,0xB4,'/',0xBC,'2','','',0, | kg/m2
37 | МПа | 0x4D,0xA8,0x61,'','','','',0, | MPa
38 | НАПР | 0x48,0x41,0xA8,0x50,'','','',0, | EMF | electric potential
39 | мВ | 0xBC,0x42,'','','','','',0, | mV
40 | В | 0x42,'','','','','','',0, | V | Volts
41 | ТОК | 0x54,0x4F,0x4B,'','','','',0, | CURRENT
42 | мА | 0xBC,0x41,'','','','','',0, | mA | milliAmps
43 | АНАЛИТ | 0x41,0x48,0x41,0xA7,0xA5,0x54,'',0, | ANA | Analytical
44 | %/кг/м3 | '%','/',0xBA,0xB4,'/',0xBC,'3',0, | %/kg/m3
45 | МАССА | 0x4D,0x41,0x43,0x43,0x41,'','',0, | MASS
46 | кг | 0xBA,0xB4,'','','','','',0, | kg
47 | г | 0xB4,'','','','','','',0, | g
48 | т | 0xBF,'','','','','','',0, | t
49 | МР | 0x4D,0x50,'','','','','',0, | MFR | Mass Flow Rate
50 | г/c | 0xB4,'/','c','','','','',0, | g/s
51 | г/мин | 0xB4,'/',0xBC,0xB8,0xBD,'','',0, | g/min
52 | г/ч | 0xB4,'/',0xC0,'','','','',0, | g/hr
53 | кг/c | 0xBA,0xB4,'/','c','','','',0, | kg/s
54 | кг/мин | 0xBA,0xB4,'/',0xBC,0xB8,0xBD,'',0, | kg/min
55 | кг/ч | 0xBA,0xB4,'/',0xC0,'','','',0, | kg/hr
56 | кг/сут | 0xBA,0xB4,'/',0x63,0x79,0xBF,'',0, | kg/dy
57 | т/мин | 0xBF,'/',0xBC,0xB8,0xBD,'','',0, | t/min
58 | т/ч | 0xBF,'/',0xC0,'','','','',0, | t/hr
59 | т/сут | 0xBF,'/',0x63,0x79,0xBF,'','',0, | t/dy
60 | ПЛОТН | 0xA8,0xA7,0x4F,0x54,0x48,'','',0, | MPV | Mass per volume
61 | кг/м3 | 0xBA,0xB4,'/',0xBC,'3','','',0, | kg/m3
62 | кг/м3СУ | 0xBA,0xB4,'/',0xBC,'3',0x43,0xA9,0, | kg/m315
63 | г/мл | 0xB4,'/',0xBC,0xBB,'','','',0, | g/mL
64 | г/л | 0xB4,'/',0xBB,'','','','',0, | g/L
65 | кг/л | 0xBA,0xB4,'/',0xBB,'','','',0, | kg/L
66 | ВРЕМЯ | 0x42,0x50,0x45,0x4D,0xB1,'','',0, | TIME
67 | c | c','','','','','','',0, | s
68 | мин | 0xBC,0xB8,0xBD,'','','','',0, | min
69 | ч | 0xC0,'','','','','','',0, | hr
70 | сут | 0x63,0x79,0xBF,'','','','',0, | dy
| Разное | 0x50,0x61,0xB7,0xBD,0x6F,0x65,'',0, | MISC | Google Translate

## GLBLS.c
# | Russian Translation (20 characters or less!) | English Text | Column1 | Additional Notes
1 | Влагосодержание | Water Cut |  | REG_WATERCUT.name
2 |  | Water Cut by Density |  | REG_WATERCUT_DENSITY.name
3 | Усреднение процесса | Process Averaging |  | REG_NUM_SAMP.name
4 |  | Em. Phase Holdover |  | REG_EM_PHASE_HOLD.name
5 | Удержание Фазы | Phase Hold Over |  | REG_PHASE_HOLD_CYCLES.name
6 |  | Num of Water Cut Samples |  | REG_WC_NUM_SAMPLES.name
7 |  | Frequency Window for HSALT |  | REG_FREQ_WINDOW.name
8 |  | Freq Variances Changing Ratio for HSALT |  | REG_FREQ_VARIANCE_RATIO.name
9 |  | Temperature Delta for HSALT |  | REG_DELTA_TEMP.name
10 |  | Fmin Baseline Window |  | REG_FREQ_WINDOW15.name
11 |  | Moving Average Window |  | REG_FREQ_WINDOW1.name
12 |  | Gas Pattern Window |  | REG_FREQ_WINDOW2.name
13 |  | Gas Entrained Frequency |  | REG_FREQ_RESULT.name
14 |  | New Bubble Length |  | boxcar_expire_val.name
15 |  | New Bubble Length |  | bubble_new_length.name
16 |  | New pattern Length |  | pattern_new_length.name
17 |  | Bulk Level Threshold |  | REG_BULK_LEVEL.name
18 |  | Cal (Oil Phase) |  | REG_CAL_OIL.name
19 |  | Cal (Water Phase) |  | REG_CAL_WATER.name
20 | Фаза Эмульсии | Emulsion Phase |  | REG_EMULSION_PHASE.name
21 | Нефть P0 | Oil P0 |  | OIL_P0.name
22 | Нефть P1 | Oil P1 |  | OIL_P1.name
23 | Выбор потока | Stream Select |  | REG_STREAM_SELECT.name
24 | Соленность | Salinity |  | REG_SALINITY.name
25 | Настройка (Н.Фаза) | Adjust (Oil Phase) |  | REG_OIL_ADJ.name
26 | Настройка (В.Фаза) | Adjust (Water Phase) |  | REG_WATER_ADJ.name
27 | ВС Низ. | Process Lo |  | REG_WATERCUT_ALARM_LO.name
28 | ВС Верх. | Process Hi |  | REG_WATERCUT_ALARM_HI.name
29 | Мин.Интерв.ВС | Min WC Span |  | HSALT.span.name
30 | ЭвСоль Мин ВС | HSALT Min WC |  | Hsalt_Min_WC.name
31 | Мин.Расход | Min Flow Rate |  | HSALT.flow_threshold.name
32 | Нефть Индекс | Oil Index |  | REG_OIL_INDEX.name
33 | Вода Индекс | Water Index |  | REG_WATER_INDEX.name
34 | Настр.Температуры | Temperature Adj |  | REG_TEMPERATURE_USER_ADJUST.name
35 | Температура Польз. | User Temperature |  | REG_TEMPERATURE_USER.name
36 | Температура Средняя | Average Temperature |  | REG_TEMPERATURE_AVG.name
37 | Температура Процесса | Process Temperature |  | REG_TEMPERATURE_EXTERNAL.name
38 |  | Spare Analog Input |  | ADC_Spare:REG_ADC[i].name
39 |  | VTUNE |  | ADC_VTUNE:REG_ADC[i].name
40 |  | Vinc |  | ADC_Vinc:REG_ADC[i].name
41 |  | Vref |  | ADC_Vref:REG_ADC[i].name
42 | Внутр.Температура | Internal Temperature |  | ADC_Tint:REG_ADC[i].name
43 | Температура Процесса | Process Temperature |  | ADC_Text:REG_ADC[i].name
44 | Аналоговый Вход 1 | Analog Input 1 |  | ADC_Ain1:REG_ADC[i].name
45 |  | REG_ADC[i].name |  | ADC_GNDSEN:
46 |  | VTUNE |  | DAC_VTUNE:REG_DAC[i].name
47 |  | REG_DAC[i].name |  | DAC_TUNESEL: Tune Select
48 |  | REG_DAC[i].name |  | DAC_OSCSEL: OSC Select
49 | Аналоговый Выход 1 | Analog Output 1 |  | REG_DAC[i].name
50 | Аналог.Вых.(АО) | Analog Out |  | AO[i].CURRENT.name
51 |  | Analog Out %% |  | AO[i].CURRENT_PERCENT_OF_RANGE.name
52 | АО НЗД | AO LRV |  | AO[i].LRV.name
53 | АО ВЗД | AO URV |  | AO[i].URV.name
54 | АО Калиб.Мин | AO TRIM MIN |  | AO[i].URV.name
55 | АО Калиб.Макс | AO TRIM MAX |  | AO[i].URV.name
56 | Аналог.Вх.(AI) | Analog In |  | AI[i].CURRENT.name
57 |  | Analog In %% |  | AI[i].CURRENT_PERCENT_OF_RANGE.name
58 | AI Значение | AI VALUE |  | AI[i].VALUE.name
59 | AI НЗД | AI LRV |  | AI[i].LRV.name
60 | AI ВЗД | AI URV |  | AI[i].URV.name
61 | АI Калиб.Мин | AI TRIM MIN |  | AI[i].URV.name
62 | АI Калиб.Макс | AI TRIM MAX |  | AI[i].URV.name
63 | Польз.Блок. | User Lock |  | REG_LOCK[i].name
64 | Завод.Блок. | Factory Lock |  | REG_LOCK[i].name
65 | ЗЗ Разблок. | Write-Protect Unlock |  | REG_LOCK[i].name
66 | Доступ ТЕХ Режим | Access Tech Mode |  | REG_LOCK[i].name
67 | Эв.Соль Блок. | Heuristic Salt Routine Lock |  | REG_LOCK[i].name
68 |  | Vinc |  | REG_VINC[i].name
69 |  | Vref |  | REG_VREF[i].name
70 |  | VTUNE |  | REG_VTUNE[i].name
71 |  | VTUNE SET |  | REG_VTUNE_SET[i].name
72 | Частота | Frequency |  | REG_FREQ[i].name
73 | НефтьЧастота | Oil Frequency |  | REG_FREQ_O.name
74 |  | Vinc Oil |  | REG_VINC_O.name
75 |  | Vref Oil |  | REG_VREF_O.name
76 | ВодаЧастота | Water Frequency |  | REG_FREQ_W.name
77 |  | Vinc Water |  | REG_VINC_W.name
78 |  | Vref Water |  | REG_VREF_W.name
79 | Н.Част.Низ | Oil Freq Lo |  | REG_FREQ_OIL_LO.name
80 | Н.Част.Верх | Oil Freq Hi |  | REG_FREQ_OIL_HI.name
81 | В.Част.Низ | Water Freq Lo |  | REG_FREQ_WATER_LO.name
82 | В.Част.Верх | Water Freq Hi |  | REG_FREQ_WATER_HI.name
83 | Порог Частоты | Frequency Threshold |  | REG_LOWSALT_THRESHOLD.name
84 | Н.Част.Мин | Oil Freq Min |  | Plot_Limit_Oil_Freq_Low.name
85 | Н.Част.Макс | Oil Freq Max |  | Plot_Limit_Oil_Freq_High.name
86 | В.Част.Мин | Water Freq Min |  | Plot_Limit_Water_Freq_Low.name
87 | В.Част.Макс | Water Freq Max |  | Plot_Limit_Water_Freq_High.name
88 |  | W Freq Plot Low |  | Plot_Limit_Water_Freq_Low.name
89 |  | W Freq Plot High |  | Plot_Limit_Water_Freq_High.name
90 |  | Oil Freq Plot Low |  | Plot_Limit_Oil_Freq_Low.name
91 |  | Oil Freq Plot High |  | Plot_Limit_Oil_Freq_High.name
92 |  | Temp Plot Low |  | Plot_Limit_Temp_Low.name
93 |  | Temp Plot High |  | Plot_Limit_Temp_High.name
94 |  | WC Plot Low |  | Plot_Limit_Watercut_Low.name
95 |  | WC Plot High |  | Plot_Limit_Watercut_High.name
96 |  | Pr Oil Plot Low |  | Plot_Limit_Oil_RP_Low.name
97 |  | Pr Oil Plot High |  | Plot_Limit_Oil_RP_High.name
98 |  | Pr Water Plot Low |  | Plot_Limit_Water_RP_Low.name
99 |  | Pr Water Plot High |  | Plot_Limit_Water_RP_High.name
100 |  | Logging Period |  | SYS_log_sample_period.name
101 |  | Logging Period User |  | USER_log_sample_period.name
102 |  | Short Osc Settle |  | REG_osc_settle_short.name
103 |  | Long Osc Settle |  | REG_osc_settle_long.name
104 |  | Demo Analyzer Mode |  | DEMO_ANALYZER_MODE.name
105 |  | CCM Vessel1 Level |  | CCM_VESSEL_LEVEL[0].name
106 |  | CCM Vessel1 Pressure |  | CCM_VESSEL_PRESSURE[0].name
107 |  | CCM Vessel2 Level |  | CCM_VESSEL_LEVEL[1].name
108 |  | CCM Vessel2 Pressure |  | CCM_VESSEL_PRESSURE[1].name
109 |  | Gas Temperature |  | CCM_GAS_TEMPERATURE.name
110 |  | Gas Density Input |  | CCM_GAS_DENSITY_INPUT.name
111 |  | Gas Density |  | CCM_GAS_DENSITY.name
112 |  | Gas Live Density |  | CCM_GAS_LIVE_DENSITY.name
113 |  | Gas Total |  | CCM_GAS_TOTAL.name
114 |  | Gas Flow |  | CCM_GAS_FLOW.name
115 |  | CCM Press Max Over |  | CCM_SETPOINT_PRESSURE_MAX_OVER.name
116 |  | CCM Vessel1 Press SP |  | CCM_SETPOINT_PRESSURE[0].name
117 |  | CCM Vessel2 Press SP |  | CCM_SETPOINT_PRESSURE[1].name
118 |  | CCM Vessel1 Level SP |  | CCM_SETPOINT_LEVEL[0].name
119 |  | CCM Vessel2 Level SP |  | CCM_SETPOINT_LEVEL[1].name
120 |  | PULSE VALUE |  | FC[i].pulse_VALUE.name
121 |  | Pulse Freq |  | FC[i].PULSE_FREQ.name
122 |  | Pulse Total |  | FC[i].PULSE_TOTAL.name
123 |  | Pulse Flow |  | FC[i].PULSE_FLOW.name
124 |  | FC Net Oil |  | FC[i].NET_OIL.name
125 |  | FC Net Water |  | FC[i].NET_WATER.name
126 |  | FC Net Total |  | FC[i].NET_TOTAL.name
127 |  | FC Avg Net Ttl |  | FC[i].AVG_NET_TOTAL.name
128 |  | FC Gross Oil |  | FC[i].GROSS_OIL.name
129 |  | Gross Water |  | FC[i].GROSS_WATER.name
130 |  | FC Gross Total |  | FC[i].GROSS_TOTAL.name
131 |  | FC Avg Grs Ttl |  | FC[i].AVG_GROSS_TOTAL.name
132 |  | FC Oil Flow |  | FC[i].FLOW_OIL.name
133 |  | FC Water Flow |  | FC[i].FLOW_WATER.name
134 |  | FC Total Flow |  | FC[i].FLOW_TOTAL.name
135 |  | FC Net Oil Flow |  | FC[i].NET_FLOW_OIL.name
136 |  | FC Net Water Flow |  | FC[i].NET_FLOW_WATER.name
137 |  | FC Net Total Flow |  | FC[i].NET_FLOW_TOTAL.name
138 |  | FC Process |  | FC[i].watercut.name
139 |  | FC Temperature |  | FC[i].T.name
140 |  | FC Pressure |  | FC[i].pressure.name
141 |  | FC Density |  | FC[i].density.name
142 |  | FC Water Density@ST |  | FC[i].density_waterST.name
143 |  | FC Water Density@PT |  | FC[i].density_water.name
144 |  | FC Oil Density@ST |  | FC[i].density_oilST.name
145 |  | FC Oil Density@PT |  | FC[i].density_oil.name
146 |  | FC Salinity |  | FC[i].salinity.name
147 |  | FC Meter Factor |  | FC[i].Meter_Factor.name
148 |  | FC Shrinkage |  | FC[i].Shrinkage.name
149 |  | User Variable |  | VARUSER[i].name
150 |  | Density Adj 3rd Ord. |  | Density_D3.name
151 |  | Density Adj 2nd Ord. |  | Density_D2.name
152 |  | Density Adj Slope |  | Density_D1.name
153 |  | Density Adj Offset |  | Density_D0.name
154 |  | Calibration Density |  | Density_Cal.name
155 |  | PLC Data Address |  | ALYESKA.DESTINATION_ADDRESS.name
156 | Тест. в процессе | TEST IN PROGRESS |  | REG_CCM_TEST_STAT.name
157 |  | PURGING |  | REG_CCM_PURGE_STAT.name
158 |  | Oil Cont. Filter |  | Oil_Phase_Filter.name
159 |  | Oil Cont. Maximum |  | Oil_Phase_Maximum.name
160 |  | Water Cont. Filter |  | Water_Phase_Filter.name
161 |  | Water Cont. Minimum |  | Water_Phase_Minimum.name
162 |  | #Oil Phase Samples |  | Num_Oil_Samples.name
163 |  | #Water Phase Samples |  | Num_Water_Samples.name
164 | Диагностика | Diagnostics |  | REG_DIAG[0].name
165 | Расшир.Диагностика | Extended Diagnostics |  | REG_DIAG[1].name
166 | Код Ошибки | Error Code |  | REG_DIAG[2].name
167 | Код Сообщения | Message Code |  | REG_DIAG[3].name
168 | HART Код Отклика | HART Response Code |  | REG_DIAG[4].name

## Alphabet
А | Б | В | Г | Д | Е | Ё | Ж | З | И | Й | К | Л | М | Н | О | П | Р | С | Т | У | Ф | Х | Ц | Ч | Ш | Щ | Ъ | Ы | Ь | Э | Ю | Я
а | б | в | г | д | е | ё | ж | з | и | й | к | л | м | н | о | п | р | с | т | у | ф | х | ц | ч | ш | щ | ъ | ы | ь | э | ю | я
Letter | Hex Value | Table Value |  | Letter | Hex Value | Table Value |  |  | // Uppercase
А | D090 | 41 |  | а | D0B0 | 61 |  |  | А | 0xD0 | 0x90 | 0x41
Б | D091 | A0 |  | б | D0B1 | B2 |  |  | Б | 0xD0 | 0x91 | 0xA0
В | D092 | 42 |  | в | D0B2 | B3 |  |  | В | 0xD0 | 0x92 | 0x42
Г | D093 | A1 |  | г | D0B3 | B4 |  |  | Г | 0xD0 | 0x93 | 0xA1
Д | D094 | E0 |  | д | D0B4 | E3 |  |  | Д | 0xD0 | 0x94 | 0xE0
Е | D095 | 45 |  | е | D0B5 | 65 |  |  | Е | 0xD0 | 0x95 | 0x45
Ё | D081 | A2 |  | ё | D191 | B5 |  |  | Ё | 0xD0 | 0x81 | 0xA2
Ж | D096 | A3 |  | ж | D0B6 | B6 |  |  | Ж | 0xD0 | 0x96 | 0xA3
З | D097 | A4 |  | з | D0B7 | B7 |  |  | З | 0xD0 | 0x97 | 0xA4
И | D098 | A5 |  | и | D0B8 | B8 |  |  | И | 0xD0 | 0x98 | 0xA5
Й | D099 | A6 |  | й | D0B9 | B9 |  |  | Й | 0xD0 | 0x99 | 0xA6
К | D09A | 4B |  | к | D0BA | BA |  |  | К | 0xD0 | 0x9A | 0x4B
Л | D09B | A7 |  | л | D0BB | BB |  |  | Л | 0xD0 | 0x9B | 0xA7
М | D09C | 4D |  | м | D0BC | BC |  |  | М | 0xD0 | 0x9C | 0x4D
Н | D09D | 48 |  | н | D0BD | BD |  |  | Н | 0xD0 | 0x9D | 0x48
О | D09E | 4F |  | о | D0BE | 6F |  |  | О | 0xD0 | 0x9E | 0x4F
П | D09F | A8 |  | п | D0BF | BE |  |  | П | 0xD0 | 0x9F | 0xA8
Р | D0A0 | 50 |  | р | D180 | 70 |  |  | Р | 0xD0 | 0xA0 | 0x50
С | D0A1 | 43 |  | с | D181 | 63 |  |  | С | 0xD0 | 0xA1 | 0x43
Т | D0A2 | 54 |  | т | D182 | BF |  |  | Т | 0xD0 | 0xA2 | 0x54
У | D0A3 | A9 |  | у | D183 | 79 |  |  | У | 0xD0 | 0xA3 | 0xA9
Ф | D0A4 | AA |  | ф | D184 | E4 |  |  | Ф | 0xD0 | 0xA4 | 0xAA
Х | D0A5 | 58 |  | х | D185 | 78 |  |  | Х | 0xD0 | 0xA5 | 0x58
Ц | D0A6 | E1 |  | ц | D186 | E5 |  |  | Ц | 0xD0 | 0xA6 | 0xE1
Ч | D0A7 | AB |  | ч | D187 | C0 |  |  | Ч | 0xD0 | 0xA7 | 0xAB
Ш | D0A8 | AC |  | ш | D188 | C1 |  |  | Ш | 0xD0 | 0xA8 | 0xAC
Щ | D0A9 | E2 |  | щ | D189 | E6 |  |  | Щ | 0xD0 | 0xA9 | 0xE2
Ъ | D0AA | AD |  | ъ | D18A | C2 |  |  | Ъ | 0xD0 | 0xAA | 0xAD
Ы | D0AB | AE |  | ы | D18B | C3 |  |  | Ы | 0xD0 | 0xAB | 0xAE
Ь | D0AC | 62 |  | ь | D18C | C4 |  |  | Ь | 0xD0 | 0xAC | 0x62
Э | D0AD | AF |  | э | D18D | C5 |  |  | Э | 0xD0 | 0xAD | 0xAF
Ю | D0AE | B0 |  | ю | D18E | C6 |  |  | Ю | 0xD0 | 0xAE | 0xB0
Я | D0AF | B1 |  | я | D18F | C7 |  |  | Я | 0xD0 | 0xAF | 0xB1
//Lowercase
[9 empty] | а |  | 0xD0 | 0xB0 | 0x61
[9 empty] | б |  | 0xD0 | 0xB1 | 0xB2
[9 empty] | в |  | 0xD0 | 0xB2 | 0xB3
[9 empty] | г |  | 0xD0 | 0xB3 | 0xB4
[9 empty] | д |  | 0xD0 | 0xB4 | 0xE3
[9 empty] | е |  | 0xD0 | 0xB5 | 0x65
[9 empty] | ё |  | 0xD1 | 0x91 | 0xB5
[9 empty] | ж |  | 0xD0 | 0xB6 | 0xB6
[9 empty] | з |  | 0xD0 | 0xB7 | 0xB7
[9 empty] | и |  | 0xD0 | 0xB8 | 0xB8
[9 empty] | й |  | 0xD0 | 0xB9 | 0xB9
[9 empty] | к |  | 0xD0 | 0xBA | 0xBA
[9 empty] | л |  | 0xD0 | 0xBB | 0xBB
[9 empty] | м |  | 0xD0 | 0xBC | 0xBC
[9 empty] | н |  | 0xD0 | 0xBD | 0xBD
[9 empty] | о |  | 0xD0 | 0xBE | 0x6F
[9 empty] | п |  | 0xD0 | 0xBF | 0xBE
[9 empty] | р |  | 0xD1 | 0x80 | 0x70
[9 empty] | с |  | 0xD1 | 0x81 | 0x63
[9 empty] | т |  | 0xD1 | 0x82 | 0xBF
[9 empty] | у |  | 0xD1 | 0x83 | 0x79
[9 empty] | ф |  | 0xD1 | 0x84 | 0xE4
[9 empty] | х |  | 0xD1 | 0x85 | 0x78
[9 empty] | ц |  | 0xD1 | 0x86 | 0xE5
[9 empty] | ч |  | 0xD1 | 0x87 | 0xC0
[9 empty] | ш |  | 0xD1 | 0x88 | 0xC1
[9 empty] | щ |  | 0xD1 | 0x89 | 0xE6
[9 empty] | ъ |  | 0xD1 | 0x8A | 0xC2
[9 empty] | ы |  | 0xD1 | 0x8B | 0xC3
[9 empty] | ь |  | 0xD1 | 0x8C | 0xC4
[9 empty] | э |  | 0xD1 | 0x8D | 0xC5
[9 empty] | ю |  | 0xD1 | 0x8E | 0xC6
[9 empty] | я |  | 0xD1 | 0x8F | 0xC7

## Notes
Every item in the "Menu.c" list will likely be used. However, I suspect we will not see displayed many of the terms in "GLBLS.c". This is for reasons I won't bring up here. It might be worthwhile to remove the text lines that are unimportant or never seen during operation.
A significant number of terms are abbreviations because they must fit on the LCD alongside the data. For instance, we use "Widx" for water index on one menu screen. These instances will be tricky.
There were well over 10k lines to comb through in order to construct these lists. Although I tried to be a thorough as I could, it's possible I might have overlooked a couple terms.
I will need to look into the best and most efficient way to implement the Russian menu system once we have the translations. It might make sense to create a separate, "Russian version" build of the firmware with each new release by simply swapping a few files of source code and recompiling. Whether this would be the best option, or even a logistically viable one, I'm not yet sure.
-David

## Sheet2
| NEEDED |  |  | HAVE ALREADY
REG_WATERCUT.name | REG_STREAM_SELECT | REG_DUMMY.name | Not Used
REG_NUM_SAMP.name | REG_NUM_SAMP | REG_WATERCUT.name | Water Cut | //R275
REG_PHASE_HOLD_CYCLES.name | REG_SALINITY | REG_WATERCUT_DENSITY.name | Water Cut by Density
REG_EMULSION_PHASE.name | REG_TEMPERATURE_USER_ADJUST | REG_NUM_SAMP.name | Process Averaging | //R276
OIL_P0.name | REG_LOCK[2] | REG_EM_PHASE_HOLD.name | Em. Phase Holdover
OIL_P1.name | REG_LOCK[3] | REG_PHASE_HOLD_CYCLES.name | Phase Hold Over | //R277
REG_STREAM_SELECT.name | REG_LOWSALT_THRESHOLD | REG_WC_NUM_SAMPLES.name | Num of Water Cut Samples
REG_SALINITY.name | REG_OIL_ADJ | REG_FREQ_WINDOW.name | Frequency Window for HSALT
REG_OIL_ADJ.name | REG_OIL_ADJ | REG_FREQ_VARIANCE_RATIO.name | Freq Variances Changing Ratio for HSALT
REG_WATER_ADJ.name | REG_WATERCUT_ALARM_LO | REG_DELTA_TEMP.name | Temperature Delta for HSALT
REG_WATERCUT_ALARM_LO.name | REG_WATER_INDEX | boxcar_expire_val.name | New Bubble Length
REG_WATERCUT_ALARM_HI.name | REG_FREQ_WATER_LO | bubble_new_length.name | New Bubble Length
HSALT.span.name | REG_FREQ_WATER_HI | pattern_new_length.name | New pattern Length
Hsalt_Min_WC.name | REG_OIL_INDEX | REG_BULK_LEVEL.name | Bulk Level Threshold
HSALT.flow_threshold.name | REG_FREQ_OIL_LO | REG_CAL_OIL.name | Cal (Oil Phase)
REG_OIL_INDEX.name | REG_FREQ_OIL_HI | REG_CAL_WATER.name | Cal (Water Phase)
REG_WATER_INDEX.name | OIL_P1 | REG_EMULSION_PHASE.name | Emulsion Phase | //R278
REG_TEMPERATURE_USER_ADJUST.name | OIL_P0 | OIL_P0.name | Oil P0 | //R279
REG_TEMPERATURE_USER.name | REG_CAL_OIL | OIL_P1.name | Oil P1 | //R280
REG_TEMPERATURE_AVG.name | REG_CAL_WATER | REG_STREAM_SELECT.name | Stream Select | //R281
REG_TEMPERATURE_EXTERNAL.name | PORTCFG[MSVE.tmpi[0]].PREFIX | REG_SALINITY.name | Salinity | //R282
ADC_Tint:REG_ADC[i].name | PORTCFG[MSVE.tmpi[0]].SUFFIX | REG_OIL_ADJ.name | Adjust (Oil Phase) | //R283
ADC_Text:REG_ADC[i].name | PORTCFG[MSVE.tmpi[0]].NETWDOG | REG_WATER_ADJ.name | Adjust (Water Phase) | //R284
ADC_Ain1:REG_ADC[i].name | PORTCFG[MSVE.tmpi[0]].Retry_Time | REG_WATERCUT_ALARM_LO.name | Process Lo | //R285
REG_DAC[i].name | PORTCFG[MSVE.tmpi[0]].Slave_ID | REG_WATERCUT_ALARM_HI.name | Process Hi | //R286
AO[i].CURRENT.name | Density_D3 | Hsalt_Min_WC.name | HSALT Min WC | //R288
AO[i].LRV.name | Density_D2 | HSALT.flow_threshold.name | Min Flow Rate | //R289
AO[i].URV.name | Density_D1 | REG_OIL_INDEX.name | Oil Index | //R290
AO[i].URV.name | Density_D0 | REG_WATER_INDEX.name | Water Index | //R291
AO[i].URV.name | COR[0].damp_flow_rate | REG_TEMPERATURE_USER_ADJUST.name | Temperature Adj | //R292
AI[i].CURRENT.name | COR[0].damp_density | REG_TEMPERATURE_USER.name | User Temperature | //R293
AI[i].VALUE.name | FC[i].density | REG_TEMPERATURE_AVG.name | Average Temperature | //R294
AI[i].LRV.name | FC[i].salinity | REG_TEMPERATURE_EXTERNAL.name | Process Temperature | //R295
AI[i].URV.name | FC[i].watercut | REG_ADC[i].name | Spare Analog Input
AI[i].URV.name | FC[i].pressure | REG_ADC[i].name | VTUNE
AI[i].URV.name | FC[i].T | REG_ADC[i].name | Vinc
REG_LOCK[i].name | FC[i].FLOW_TOTAL | REG_ADC[i].name | Vref
REG_LOCK[i].name | FC[i].density_water | REG_ADC[i].name | Internal Temperature //R296
REG_LOCK[i].name | FC[i].density_waterST | REG_ADC[i].name | Process Temperature | //R295
REG_LOCK[i].name | FC[i].density_oil | REG_ADC[i].name | Analog Input 1 | //R298
REG_LOCK[i].name | FC[i].density_oilST | REG_ADC[i].name | GNDSEN
REG_FREQ[i].name | FC[i].Shrinkage | REG_DAC[i].name | VTUNE
REG_FREQ_O.name | FC[0].Meter_Factor | REG_DAC[i].name | Tune Select
REG_FREQ_W.name |  | REG_DAC[i].name | OSC Select
REG_FREQ_OIL_LO.name |  | REG_DAC[i].name | Analog Output 1 | //R299
REG_FREQ_OIL_HI.name |  | AO[i].CURRENT.name | Analog Out | //R300
REG_FREQ_WATER_LO.name |  | AO[i].CURRENT_PERCENT_OF_RANGE.name | Analog Out %% | //R300
REG_FREQ_WATER_HI.name |  | AO[i].LRV.name | AO LRV | //R301
REG_LOWSALT_THRESHOLD.name |  | AO[i].URV.name | AO URV | //R302
Plot_Limit_Oil_Freq_Low.name |  | AO[i].URV.name | AO TRIM MIN | //R303
Plot_Limit_Oil_Freq_High.name |  | AO[i].URV.name | AO TRIM MAX | //R304
Plot_Limit_Water_Freq_Low.name |  | AI[i].CURRENT.name | Analog In | //R305
Plot_Limit_Water_Freq_High.name |  | AI[i].CURRENT_PERCENT_OF_RANGE.name | Analog In %% | //R305
REG_CCM_TEST_STAT.name |  | AI[i].VALUE.name | AI VALUE | //R306
REG_DIAG[0].name |  | AI[i].LRV.name | AI LRV | //R307
REG_DIAG[1].name |  | AI[i].URV.name | AI URV | //R308
REG_DIAG[2].name |  | AI[i].URV.name | AI TRIM MIN | //R309
REG_DIAG[3].name |  | AI[i].URV.name | AI TRIM MAX | //R310
REG_DIAG[4].name |  | REG_LOCK[i].name | User Lock | //R311
|  | REG_LOCK[i].name | Factory Lock | //R312
|  | REG_LOCK[i].name | Write-Protect Unlock | //R313
|  | REG_LOCK[i].name | Access Tech Mode | //R314
|  | REG_LOCK[i].name | Heuristic Salt Routine Lock | //R315
|  | REG_VINC[i].name | Vinc
|  | REG_VREF[i].name | Vref
|  | REG_VTUNE[i].name | VTUNE
|  | REG_VTUNE_SET[i].name | VTUNE SET
|  | REG_FREQ[i].name | Frequency | //R316
|  | REG_FREQ_O.name | Oil Frequency | //R317
|  | REG_VINC_O.name | Vinc Oil
|  | REG_VREF_O.name | Vref Oil
|  | REG_FREQ_W.name | Water Frequency | //R318
|  | REG_VINC_W.name | Vinc Water
|  | REG_VREF_W.name | Vref Water
|  | REG_FREQ_OIL_LO.name | Oil Freq Lo | //R319
|  | REG_FREQ_OIL_HI.name | Oil Freq Hi | //R320
|  | REG_FREQ_WATER_LO.name | Water Freq Lo | //R321
|  | REG_FREQ_WATER_HI.name | Water Freq Hi | //R322
|  | REG_LOWSALT_THRESHOLD.name | Frequency Threshold | //R323
|  | Plot_Limit_Oil_Freq_Low.name | Oil Freq Min
|  | Plot_Limit_Oil_Freq_High.name | Oil Freq Max
|  | Plot_Limit_Water_Freq_Low.name | Water Freq Min
|  | Plot_Limit_Water_Freq_High.name | Water Freq Max
|  | Plot_Limit_Water_Freq_Low.name | W Freq Plot Low
|  | Plot_Limit_Water_Freq_High.name | W Freq Plot High
|  | Plot_Limit_Oil_Freq_Low.name | Oil Freq Plot Low
|  | Plot_Limit_Oil_Freq_High.name | Oil Freq Plot High
|  | Plot_Limit_Temp_Low.name | Temp Plot Low
|  | Plot_Limit_Temp_High.name | Temp Plot High
|  | Plot_Limit_Watercut_Low.name | WC Plot Low
|  | Plot_Limit_Watercut_High.name | WC Plot High
|  | Plot_Limit_Oil_RP_Low.name | Pr Oil Plot Low
|  | Plot_Limit_Oil_RP_High.name | Pr Oil Plot High
|  | Plot_Limit_Water_RP_Low.name | Pr Water Plot Low
|  | Plot_Limit_Water_RP_High.name | Pr Water Plot High
|  | SYS_log_sample_period.name | Logging Period
|  | USER_log_sample_period.name | Logging Period User
|  | REG_osc_settle_short.name | Short Osc Settle
|  | REG_osc_settle_long.name | Long Osc Settle
|  | DEMO_ANALYZER_MODE.name | Demo Analyzer Mode
|  | CCM_VESSEL_LEVEL[0].name | CCM Vessel1 Level
|  | CCM_VESSEL_PRESSURE[0].name | CCM Vessel1 Pressure
|  | CCM_VESSEL_LEVEL[1].name | CCM Vessel2 Level
|  | CCM_VESSEL_PRESSURE[1].name | CCM Vessel2 Pressure
|  | CCM_GAS_TEMPERATURE.name | Gas Temperature
|  | CCM_GAS_DENSITY_INPUT.name | Gas Density Input
|  | CCM_GAS_DENSITY.name | Gas Density
|  | CCM_GAS_LIVE_DENSITY.name | Gas Live Density
|  | CCM_GAS_TOTAL.name | Gas Total
|  | CCM_GAS_FLOW.name | Gas Flow
|  | CCM_SETPOINT_PRESSURE_MAX_OVER.name | CCM Press Max Over
|  | CCM_SETPOINT_PRESSURE[0].name | CCM Vessel1 Press SP
|  | CCM_SETPOINT_PRESSURE[1].name | CCM Vessel2 Press SP
|  | CCM_SETPOINT_LEVEL[0].name | CCM Vessel1 Level SP
|  | CCM_SETPOINT_LEVEL[1].name | CCM Vessel2 Level SP
|  | FC[i].pulse_VALUE.name | PULSE VALUE
|  | FC[i].PULSE_FREQ.name | Pulse Freq
|  | FC[i].PULSE_TOTAL.name | Pulse Total
|  | FC[i].PULSE_FLOW.name | Pulse Flow
|  | FC[i].NET_OIL.name | FC Net Oil
|  | FC[i].NET_WATER.name | FC Net Water
|  | FC[i].NET_TOTAL.name | FC Net Total
|  | FC[i].AVG_NET_TOTAL.name | FC Avg Net Ttl
|  | FC[i].GROSS_OIL.name | FC Gross Oil
|  | FC[i].GROSS_WATER.name | Gross Water
|  | FC[i].GROSS_TOTAL.name | FC Gross Total
|  | FC[i].AVG_GROSS_TOTAL.name | FC Avg Grs Ttl
|  | FC[i].FLOW_OIL.name | FC Oil Flow
|  | FC[i].FLOW_WATER.name | FC Water Flow
|  | FC[i].FLOW_TOTAL.name | FC Total Flow
|  | FC[i].NET_FLOW_OIL.name | FC Net Oil Flow
|  | FC[i].NET_FLOW_WATER.name | FC Net Water Flow
|  | FC[i].NET_FLOW_TOTAL.name | FC Net Total Flow
|  | FC[i].watercut.name | FC Process
|  | FC[i].T.name | FC Temperature
|  | FC[i].pressure.name | FC Pressure
|  | FC[i].density.name | FC Density
|  | FC[i].density_waterST.name | FC Water Density@ST
|  | FC[i].density_water.name | FC Water Density@PT
|  | FC[i].density_oilST.name | FC Oil Density@ST
|  | FC[i].density_oil.name | FC Oil Density@PT
|  | FC[i].salinity.name | FC Salinity
|  | FC[i].Meter_Factor.name | FC Meter Factor
|  | FC[i].Shrinkage.name | FC Shrinkage
|  | VARUSER[i].name | User Variable
|  | Density_D3.name | Density Adj 3rd Ord.
|  | Density_D2.name | Density Adj 2nd Ord.
|  | Density_D1.name | Density Adj Slope
|  | Density_D0.name | Density Adj Offset
|  | Density_Cal.name | Calibration Density
|  | ALYESKA.DESTINATION_ADDRESS.name | PLC Data Address
|  | REG_CCM_TEST_STAT.name | TEST IN PROGRESS | //R328
|  | REG_CCM_PURGE_STAT.name | PURGING
|  | Oil_Phase_Filter.name | Oil Cont. Filter
|  | Oil_Phase_Maximum.name | Oil Cont. Maximum
|  | Water_Phase_Filter.name | Water Cont. Filter
|  | Water_Phase_Minimum.name | Water Cont. Minimum
|  | Num_Oil_Samples.name | #Oil Phase Samples
|  | Num_Water_Samples.name | #Water Phase Samples
|  | REG_DIAG[0].name | Diagnostics | //R329
|  | REG_DIAG[1].name | Extended Diagnostics | //R330
|  | REG_DIAG[2].name | Error Code | //R331
|  | REG_DIAG[3].name | Message Code | //R332
|  | REG_DIAG[4].name | HART Response Code | //R333

## Sheet1
Column1 | Column2 | Column3 | Column4
Line 1912 | &REG_port1_parity | c_not_used | u_generic_not_used
Line 1901 | &REG_flow_meter_type | c_not_used | u_generic_not_used
Line 1902 | &REG_flow_volume_unit | c_not_used | u_generic_not_used
Line 1911 | &REG_port1_Baud_Rate | c_not_used | u_generic_not_used
Line 1913 | &REG_port1_stop_bits | c_not_used | u_generic_not_used
Line 1900 | &REG_alarm_relay_delay | c_time | u_time_sec
Line 1903 | &REG_flow_rate_time_unit | c_not_used | u_generic_not_used
Line 1904 | &REG_count_per_flow_unit | c_not_used | u_generic_not_used
Line 1905 | &REG_20mA_max_flow_rate_input | c_not_used | u_generic_not_used
Line 1910 | &REG_density_correction_mode | c_not_used | u_generic_not_used
Line 1198 | & Plot_Limit_Watercut_Low | c_analytical | u_ana_percent
Line 120 | &REG_FREQ_VARIANCE_RATIO | c_analytical | u_mfgr_specific_none
Line 1205 | &Plot_Limit_Watercut_High | c_analytical | u_ana_percent
Line 1453 | &FC[i].pulse_VALUE | c_analytical | u_ana_percent
Line 1827 | &Density_D3 | c_analytical | u_mfgr_specific_none
Line 1833 | &Density_D2 | c_analytical | u_mfgr_specific_none
Line 1840 | &Density_D1 | c_analytical | u_mfgr_specific_perc_per_API_60F
Line 1846 | &Density_D0 | c_analytical | u_ana_percent
Line 583 | &AO[i].CURRENT_PERCENT_OF_RANGE | c_analytical | u_ana_percent
Line 590 | &AO[i].LRV | c_analytical | u_ana_percent
Line 596 | &AO[i].URV | c_analytical | u_ana_percent
Line 697 | &AI[i].CURRENT_PERCENT_OF_RANGE | c_analytical | u_ana_percent
Line 704 | &AI[i].VALUE | c_analytical | u_ana_percent
Line 71 | &REG_WATERCUT | c_analytical | u_ana_percent
Line 710 | &AI[i].LRV | c_analytical | u_ana_percent
Line 716 | &AI[i].URV | c_analytical | u_ana_percent
Line 80 | &REG_WATERCUT_DENSITY | c_analytical | u_ana_percent
Line 1649 | &FC[i].salinity | c_concentration | u_conc_perc_solid_per_weight
Line 229 | &REG_SALINITY | c_concentration | u_conc_perc_solid_per_weight
Line 520 | &REG_DAC[i] | c_current | u_cur_mA
Line 576 | &AO[i].CURRENT | c_current | u_cur_mA
Line 690 | &AI[i].CURRENT | c_current | u_cur_mA | var_no_bound
Line 1010 | &REG_VTUNE[i] | c_emf | u_emf_V | var_no_bound
Line 1021 | &REG_VTUNE_SET[i] | c_emf | u_emf_V | ¦var_dampen
Line 1055 | &REG_VINC_O | c_emf | u_emf_V
Line 1060 | &REG_VREF_O | c_emf | u_emf_V
Line 1071 | &REG_VINC_W | c_emf | u_emf_V
Line 1076 | &REG_VREF_W | c_emf | u_emf_V
Line 1212 | &Plot_Limit_Oil_RP_Low | c_emf | u_emf_V
Line 1219 | &Plot_Limit_Oil_RP_High | c_emf | u_emf_V | var_dampen¦
Line 1226 | &Plot_Limit_Water_RP_Low | c_emf | u_emf_V
Line 1233 | &Plot_Limit_Water_RP_High | c_emf | u_emf_V | ¦var_no_bound
Line 206 | &OIL_P0 | c_emf | u_emf_V | ¦var_no_bound
Line 438 | &REG_ADC[i] | c_emf | u_emf_V
Line 465 | &REG_ADC[i] | c_emf | u_emf_V
Line 507 | &REG_DAC[i] | c_emf | u_emf_V
Line 528 | &REG_DAC[i] | c_emf | u_emf_V
Line 988 | &REG_VINC[i] | c_emf | u_emf_V
Line 999 | &REG_VREF[i] | c_emf | u_emf_V | var_dampen¦¦var_no_bound
Line 1032 | &REG_FREQ[i] | c_frequency | u_mfgr_specific_MHz
Line 1049 | &REG_FREQ_O | c_frequency | u_mfgr_specific_MHz
Line 1065 | &REG_FREQ_W | c_frequency | u_mfgr_specific_MHz | ¦var_no_bound
Line 1085 | &REG_FREQ_OIL_LO | c_frequency | u_mfgr_specific_MHz | ¦var_no_bound
Line 1092 | &REG_FREQ_OIL_HI | c_frequency | u_mfgr_specific_MHz | var_no_bound
Line 1099 | &REG_FREQ_WATER_LO | c_frequency | u_mfgr_specific_MHz
Line 1106 | &REG_FREQ_WATER_HI | c_frequency | u_mfgr_specific_MHz
Line 1114 | &REG_LOWSALT_THRESHOLD | c_frequency | u_mfgr_specific_MHz
Line 1127 | &Plot_Limit_Oil_Freq_Low | c_frequency | u_mfgr_specific_MHz
Line 1134 | &Plot_Limit_Oil_Freq_High | c_frequency | u_mfgr_specific_MHz
Line 1141 | &Plot_Limit_Water_Freq_Low | c_frequency | u_mfgr_specific_MHz
Line 1148 | &Plot_Limit_Water_Freq_High | c_frequency | u_mfgr_specific_MHz | var_dampen
Line 1156 | &Plot_Limit_Water_Freq_Low | c_frequency | u_mfgr_specific_MHz
Line 1163 | &Plot_Limit_Water_Freq_High | c_frequency | u_mfgr_specific_MHz
Line 1170 | &Plot_Limit_Oil_Freq_Low | c_frequency | u_mfgr_specific_MHz
Line 1177 | &Plot_Limit_Oil_Freq_High | c_frequency | u_mfgr_specific_MHz
Line 1460 | &FC[i].PULSE_FREQ | c_frequency | u_freq_hertz
Line 337 | &REG_OIL_INDEX | c_frequency | u_mfgr_specific_MHz
Line 344 | &REG_WATER_INDEX | c_frequency | u_mfgr_specific_MHz
Line 1339 | &CCM_GAS_DENSITY_INPUT | c_mass_per_volume | u_mpv_kg_cm
Line 1344 | &CCM_GAS_DENSITY | c_mass_per_volume | u_mpv_kg_cm
Line 1349 | &CCM_GAS_LIVE_DENSITY | c_mass_per_volume | u_mpv_kg_cm
Line 1605 | &FC[i].density | c_mass_per_volume | u_mpv_kg_cm
Line 1618 | &FC[i].density_waterST | c_mass_per_volume | u_mpv_kg_cm
Line 1626 | &FC[i].density_water | c_mass_per_volume | u_mpv_kg_cm
Line 1634 | &FC[i].density_oilST | c_mass_per_volume | u_mpv_kg_cm
Line 1642 | &FC[i].density_oil | c_mass_per_volume | u_mpv_kg_cm
Line 1852 | &Density_Cal | c_mass_per_volume | u_mpv_deg_API_60F
Line 106 | &REG_WC_NUM_SAMPLES | c_not_classified | u_mfgr_specific_none
Line 113 | &REG_FREQ_WINDOW | c_not_classified | u_mfgr_specific_none
Line 125 | &REG_DELTA_TEMP | c_not_classified | u_mfgr_specific_none
Line 1314 | &CCM_VESSEL_LEVEL[0] | c_not_classified | u_ana_percent
Line 1324 | &CCM_VESSEL_LEVEL[1] | c_not_classified | u_ana_percent
Line 1383 | &CCM_SETPOINT_LEVEL[0] | c_not_classified | u_ana_percent
Line 1389 | &CCM_SETPOINT_LEVEL[1] | c_not_classified | u_ana_percent
Line 141 | &boxcar_expire_val | c_not_classified | u_mfgr_specific_none
Line 152 | &bubble_new_length | c_not_classified | u_mfgr_specific_none
Line 159 | &pattern_new_length | c_not_classified | u_mfgr_specific_none
Line 1656 | &FC[i].Meter_Factor | c_not_classified | u_generic_not_used
Line 1662 | &FC[i].Shrinkage | c_not_classified | u_generic_not_used
Line 1709 | &VARUSER[i] | c_not_classified | u_generic_not_used
Line 177 | &REG_BULK_LEVEL | c_not_classified | u_mfgr_specific_none
Line 1862 | &ALYESKA.DESTINATION_ADDRESS | c_not_classified | u_mfgr_specific_none
Line 1939 | &REG_CCM_TEST_STAT | c_not_classified | u_mfgr_specific_none
Line 1946 | &REG_CCM_PURGE_STAT | c_not_classified | u_mfgr_specific_none
Line 199 | &REG_EMULSION_PHASE | c_not_classified | u_mfgr_specific_water_phase
Line 212 | &OIL_P1 | c_not_classified | u_mfgr_specific_V_per_MHz
Line 221 | &REG_STREAM_SELECT | c_not_classified | u_mfgr_specific_none
Line 2276 | &REG_DIAG[0] | c_not_classified | u_mfgr_specific_none
Line 2282 | &REG_DIAG[1] | c_not_classified | u_mfgr_specific_none
Line 2288 | &REG_DIAG[2] | c_not_classified | u_mfgr_specific_none
Line 2294 | &REG_DIAG[3] | c_not_classified | u_mfgr_specific_none
Line 2300 | &REG_DIAG[4] | c_not_classified | u_mfgr_specific_none | ¦var_roll
Line 288 | &Hsalt_Min_WC | c_not_classified | u_mfgr_specific_none | ¦var_roll
Line 297 | &HSALT.flow_threshold | c_not_classified | u_mfgr_specific_none
Line 646 | &AO[i].P | c_not_classified | u_mfgr_specific_none
Line 652 | &AO[i].I | c_not_classified | u_mfgr_specific_none
Line 658 | &AO[i].D | c_not_classified | u_mfgr_specific_none
Line 791 | &REG_LOCK[i] | c_not_classified | u_mfgr_specific_none
Line 86 | &REG_NUM_SAMP | c_not_classified | u_mfgr_specific_none
Line 93 | &REG_EM_PHASE_HOLD | c_not_classified | u_mfgr_specific_none
Line 99 | &REG_PHASE_HOLD_CYCLES | c_not_classified | u_mfgr_specific_none | ¦var_roll
Line 1306 | &DEMO_ANALYZER_MODE | c_not_used | u_generic_not_used
Line 1906 | &REG_accumulator_display_format | c_not_used | u_generic_not_used | ¦var_roll
Line 2201 | &Oil_Phase_Filter | c_not_used | u_generic_not_used | ¦var_roll
Line 2207 | &Oil_Phase_Maximum | c_not_used | u_generic_not_used | ¦var_roll
Line 2213 | &Water_Phase_Filter | c_not_used | u_generic_not_used | ¦var_roll
Line 2219 | &Water_Phase_Minimum | c_not_used | u_generic_not_used | ¦var_roll
Line 2226 | &Num_Oil_Samples | c_not_used | u_generic_not_used | ¦var_roll
Line 2233 | &Num_Water_Samples | c_not_used | u_generic_not_used | ¦var_roll
Line 602 | &AO[i].TRIM_MIN | c_not_used | u_generic_not_used | ¦var_roll
Line 616 | &AO[i].TRIM_MAX | c_not_used | u_generic_not_used
Line 66 | &REG_DUMMY | c_not_used | u_generic_not_used
Line 722 | &AI[i].TRIM_MIN | c_not_used | u_generic_not_used
Line 729 | &AI[i].TRIM_MAX | c_not_used | u_generic_not_used
Line 1319 | &CCM_VESSEL_PRESSURE[0] | c_pressure | u_p_psi
Line 1329 | &CCM_VESSEL_PRESSURE[1] | c_pressure | u_p_psi
Line 1366 | &CCM_SETPOINT_PRESSURE_MAX_OVER | c_pressure | u_p_psi | 12 | 61.65 | 4
Line 1371 | &CCM_SETPOINT_PRESSURE[0] | c_pressure | u_p_psi | 15 | 23.15 | 9
Line 1377 | &CCM_SETPOINT_PRESSURE[1] | c_pressure | u_p_psi | 14 | 35.49 | 7
Line 1598 | &FC[i].pressure | c_pressure | u_p_psi | 16 | 13.04 | 12
Line 1184 | &Plot_Limit_Temp_Low | c_temperature | u_temp_C | 17 | 5.79 | 15
Line 1191 | &Plot_Limit_Temp_High | c_temperature | u_temp_C | 11 | 73.07 | 3
Line 1334 | &CCM_GAS_TEMPERATURE | c_temperature | u_temp_C | 85 | 212.19 | 50
Line 1591 | &FC[i].T | c_temperature | u_temp_C
Line 365 | &REG_TEMPERATURE_USER_ADJUST | c_temperature | u_mfgr_specific_none
Line 371 | &REG_TEMPERATURE_USER | c_temperature | u_mfgr_specific_none
Line 376 | &REG_TEMPERATURE_AVG | c_temperature | u_mfgr_specific_none
Line 383 | &REG_TEMPERATURE_EXTERNAL | c_temperature | u_temp_C
Line 409 | &REG_ADC[i] | c_temperature | u_temp_C
Line 420 | &REG_ADC[i] | c_temperature | u_temp_C
Line 1247 | &SYS_log_sample_period | c_time | u_time_sec
Line 1255 | &USER_log_sample_period | c_time | u_time_sec
Line 1291 | &REG_osc_settle_short | c_time | u_time_sec
Line 1297 | &REG_osc_settle_long | c_time | u_time_sec
Line 1354 | &CCM_GAS_TOTAL | c_volume | u_v_mscf
Line 1466 | &FC[i].PULSE_TOTAL | c_volume | u_v_barrel
Line 1484 | &FC[i].NET_OIL | c_volume | u_v_barrel
Line 1491 | &FC[i].NET_WATER | c_volume | u_v_barrel
Line 1498 | &FC[i].NET_TOTAL | c_volume | u_v_barrel
Line 1505 | &FC[i].AVG_NET_TOTAL | c_volume | u_v_barrel
Line 1512 | &FC[i].GROSS_OIL | c_volume | u_v_barrel
Line 1519 | &FC[i].GROSS_WATER | c_volume | u_v_barrel
Line 1526 | &FC[i].GROSS_TOTAL | c_volume | u_v_barrel
Line 1533 | &FC[i].AVG_GROSS_TOTAL | c_volume | u_v_barrel
Line 1583 | &FC[i].watercut | c_volume_per_volume | u_vpv_volume_percent
Line 183 | &REG_CAL_OIL | c_volume_per_volume | u_vpv_volume_percent
Line 191 | &REG_CAL_WATER | c_volume_per_volume | u_vpv_volume_percent
Line 237 | &REG_OIL_ADJ | c_volume_per_volume | u_vpv_volume_percent
Line 245 | &REG_WATER_ADJ | c_volume_per_volume | u_vpv_volume_percent
Line 253 | &REG_WATERCUT_ALARM_LO | c_volume_per_volume | u_vpv_volume_percent
Line 261 | &REG_WATERCUT_ALARM_HI | c_volume_per_volume | u_vpv_volume_percent
Line 1360 | &CCM_GAS_FLOW | c_volumetric_flow | u_vfr_mscf_day
Line 1473 | &FC[i].PULSE_FLOW | c_volumetric_flow | u_vfr_barrel_day
Line 1540 | &FC[i].FLOW_OIL | c_volumetric_flow | u_vfr_barrel_day
Line 1547 | &FC[i].FLOW_WATER | c_volumetric_flow | u_vfr_barrel_day
Line 1554 | &FC[i].FLOW_TOTAL | c_volumetric_flow | u_vfr_barrel_day
Line 1561 | &FC[i].NET_FLOW_OIL | c_volumetric_flow | u_vfr_barrel_day
Line 1568 | &FC[i].NET_FLOW_WATER | c_volumetric_flow | u_vfr_barrel_day
Line 1575 | &FC[i].NET_FLOW_TOTAL | c_volumetric_flow | u_vfr_barrel_day
Line 1908 | &REG_HART_num_preamble | c_not_used | u_generic_not_used
Line 1907 | &REG_HART_response_delay | c_not_used | u_mfgr_specific_ct
Line 1909 | &REG_reference_currrent_mode | c_not_used | u_generic_not_used